## Slide 1
Distribution Grid and Interconnection Stakeholder Group
Battery Interconnection
November 3, 2016
9 AM – 12 PM (MDT)

## Slide 2: Agenda
Distribution Grid and Interconnection Stakeholder Group
9 – 9:10 | Welcome & Introductions | Neil Cowan
9:10 – 9:30 | Review of Agenda and Stakeholder Group Charter | Neil Cowan
9:30 – 9:45 | Current Guidance What is it and how does it work? Issues/Questions | Robin Kittel / Tom Yohn / Craig Groeling
9:45 – 10:30 | Settlement Item #1 Overview Discussion / Questions | Facilitated by Robin Kittel
10:30 – 10:45 | BREAK | 
10:45 – 11:45 | Settlement Items #2 & #3 Overview Discussion / Questions | Facilitated by Robin Kittel
11:45 – 12:00 | Wrap Review parking lot items and action items. Feedback on Guidance Documents. Schedule next meeting. | Neil Cowan

## Slide 3
Distribution Grid and Interconnection Stakeholder Group
Current Guidance
Electric Storage Used as Backup Power for Net Metered Customers

## Slide 4: Electric Storage Used as Backup Power for Net Metered Customers
See Handout.
Available online at:
https://www.xcelenergy.com/programs_and_rebates/business_programs_and_rebates/renewable_energy_options_business/solar/available_solar_options/on_site_at_your_business/how_to_interconnect
Distribution Grid and Interconnection Stakeholder Group

## Slide 5
Distribution Grid and Interconnection Stakeholder Group
Settlement Item 1
Interconnection of Batteries as Stand-Alone Sources, Parallel Operation for Customers without Generation, and in Parallel with Self-Generation

## Slide 6
Distribution Grid and Interconnection Stakeholder Group
1. Customers with stand-alone battery interconnection are not required to have an interconnection agreement with the Company if they are in compliance with NEC 702, obtain an appropriate safety inspection, and can provide verifiable proof that those systems are operated such that they do not serve their main electrical panel. Customers with stand-alone battery interconnections are required to have an interconnection agreement when their system is operated in parallel with the grid by serving their main electrical panel.

## Slide 7: Stand-Alone Batteries
Customer Tariff | Residential "R" | Commercial "C" | C&I "PG, "SG", etc.
Meter | Standard meter configuration for customers on this tariff | Standard meter configuration for customers on this tariff | Dual bi-directional is standard, can confirm in and out
Billing System | For "R" and "C" standard meter configurations, any reverse power flow will "advance" meter forward. |  | 
Interconnection Agreement | Not Required |  | 
Interconnection Review (IR) | Developer/customer must submit proof with application and attest that storage does not discharge to the grid. (Note, this is a new requirement for stand-alone) |  | 
How we monitor compliance | Xcel Energy reserves the right to conduct an inspection to verify at a later date if problems arise or other indications of non-compliance are present |  | 
Other requirements | Design should be in conformance with National Electric Code (NEC) Article 702 Standby Power |  | 
Distribution Grid and Interconnection Stakeholder Group

## Slide 8: Batteries in Parallel
Customer Tariff | Residential "R" | Commercial "C" | C&I "PG, "SG", etc.
Meter | Standard meter configuration | standard meter configuration | Dual bi-directional is standard, which can confirm in and out
Billing Requirement | For "R" and "C" standard meter configurations, any reverse power flow will "advance" meter forward. |  | 
Interconnection Agreement | Required |  | 
Interconnection Review (IR) | Developer/customer must submit proof with application and attest that storage does not discharge to the grid. |  | 
How we monitor compliance | Do not require a relay | Do not require a relay | Do not require a relay
Distribution Grid and Interconnection Stakeholder Group

## Slide 9: Battery in Parallel with Customer Self-Generation (Non-RES Eligible Generation)
Customer Tariff | Residential "R" | Commercial "C" | C&I "PG, "SG", etc.
Meter | Standard meter configuration for customers on this tariff | Standard meter configuration for customers on this tariff | Dual bi-directional is standard, which can confirm in and out
Billing Requirement | For "R" and "C" standard meter configurations, any reverse power flow will "advance" meter forward. |  | 
Interconnection Agreement | Required |  | 
Interconnection Review (IR) | Developer/customer must submit proof with application and attests that storage does not discharge to the grid. |  | 
How we monitor compliance | Does not require a relay | Does not require a relay | Does not require a relay
Distribution Grid and Interconnection Stakeholder Group

## Slide 10
Distribution Grid and Interconnection Stakeholder Group
Settlement Items 2 &3
Energy Storage Systems Operated in Parallel with Onsite Renewable Generation Connected Under a Net Metering Tariff

## Slide 11
Distribution Grid and Interconnection Stakeholder Group
2. The Company will allow an energy storage system that is paired with net energy metering (“NEM”) eligible onsite renewable generation to be operated in parallel with the grid provided that (a) an interconnection review is completed; and either (b) the storage system is charged exclusively by the NEM eligible on-site generation, or (c) the customer can demonstrate the storage system will never export to the grid.11
3. The Company will allow an energy storage system to be located on the same side of the production meter as a NEM eligible onsite renewable generator provided that the storage system is charged exclusively by the onsite renewable generation and that only the production recorded by the production meter will be eligible for REC incentives.

## Slide 12: Battery in Parallel - Paired with On-Site RE Settlement Condition 2(b) – Storage System is charged exclusively by NEM eligible On-Site RE.
Customer Tariff | Residential "R -Schedule PV or NM" | Commercial "C - Schedule PV or NM" | C&I Schedule PV or NM "PG, "SG", etc.
Meter | Standard net meter applicable for this tariff | Standard net meter applicable for this tariff | Dual bi-directional is standard, which can confirm in and out
Billing Requirement | Current setup. Customers still export renewable energy. |  | 
Interconnection Agreement and Review | Required |  | 
Interconnection Review (IR) Requirements | Developer/customer submits proof with application, specifies operating modes, and attests that storage does not to discharge to the grid. |  | 
How we monitor compliance | Upfront during I/C Review. No relay required. | Upfront during I/C Review. No relay required. | Upfront during I/C Review. No relay required.
Distribution Grid and Interconnection Stakeholder Group

## Slide 13: Battery in Parallel, Paired with On-Site RE Settlement Condition 2(c) - Customer can demonstrate storage will not export to the grid.
Distribution Grid and Interconnection Stakeholder Group
Customer Tariff | Residential "R -Schedule PV or NM" | Commercial "C - Schedule PV or NM" | C&I Schedule PV or NM "PG, "SG", etc.
Meter | Standard net meter applicable for this tariff | Standard net meter applicable for this tariff | Dual bi-directional is standard, which can confirm in and out
Billing Requirement | Current setup. Customers still export renewable energy. |  | 
Interconnection Agreement and Review | Required |  | 
Interconnection (I/C) Review Requirements | Developer/customer submits proof with application, specifies operating modes, and attests that storage does not to discharge to the grid. |  | 
How we monitor compliance | Upfront during I/C Review. No relay required. | Upfront during I/C Review. No relay required. | Upfront during I/C Review. Relay required.

## Slide 14: Battery in Parallel - Paired with On-Site RE Settlement Condition 3 – Battery charged exclusively by on-site RE, only production recorded by production meter is eligible for RECS.
Customer Tariff | Residential "R -Schedule PV" | Commercial "C - Schedule PV" | C&I Schedule PV "PG, "SG", etc.
Meter | Standard net meter applicable for this tariff | Standard net meter applicable for this tariff | Dual bi-directional is standard, which can confirm in and out
Billing Requirement | Current setup. Customers still export renewable energy. |  | 
Interconnection Agreement and Review | Required |  | 
Interconnection (I/C) Review Requirements | Developer/customer submits proof with application, specifies operating modes, and attests that storage does not to discharge to the grid. |  | 
How we monitor compliance | Upfront during I/C Review. | Upfront during I/C Review. | Upfront during I/C Review.
Other requirements | Only production recorded by production meter will be eligible for RECs |  | 
Distribution Grid and Interconnection Stakeholder Group

## Slide 15: Wrap
Review parking lot items and action items.
Feedback on Guidance Documents.
Schedule next meeting.
Distribution Grid and Interconnection Stakeholder Group
Wrap