## EVSE
ELIGIBLE EV CHARGING EQUIPMENT LIST
Colorado, Minnesota and Wisconsin
May 2023
FOR USE WITH ALL OPCOS EXCEPT NEW MEXICO PUBLIC CHARGING
Vendor | EVSE Manufacturer | Model | Output (kW) | # of Ports | Application
[5 empty] | C&I, MFH-NA | Fleet | Public
Vendor | EVSE Manufacturer | Model | Output (kW) | # of Ports | C&I, MFH-NA | Fleet | Public
ABB | ABB | W7P8RCO-32 | 7.7 | 1 | Y | Y
ABB | ABB | W9P8RD-40 | 9.6 | 1 | Y | Y
ABB | ABB | W19P8TD-80 | 11 | 1 | Y | Y
ABB | ABB | DCWB-22 | 22.5 | 2 | Y | Y | Y
ABB | ABB | DCWB-24 | 24 | 2 | Y | Y | Y
ABB | ABB | TERRA AC WALLBOX UL | 9.6 | 1 | Y | Y | Y
ABB | ABB | TERRA AC WALLBOX UL | 19.2 | 1 | Y | Y | Y
ABB | ABB | TERRA 24 WALLBOX UL | 24 | 2 |  | Y | Y
ABB | ABB | TERRA 54 & 54 HV UL DC FAST CHARGING STATION | 54 | 1,2 |  | Y | Y
ABB | ABB | Terra 94 UL DC Fast Charging Station | 90 | 1 |  | Y | Y
ABB | ABB | Terra 124 UL DC Fast Charging Station | 120 | 1,2 |  | Y | Y
ABB | ABB | Terra 184 UL DC Fast Charging Station | 180 | 1,2 |  | Y | Y
ABB | ABB | T54 | 50 | 2 |  |  | Y
ABB | ABB | T54HV | 50 | 2 |  |  | Y
ABB | ABB | T94 | 90 | 2 |  |  | Y
ABB | ABB | T124 | 120/60 | 2 |  |  | Y
ABB | ABB | T184 | 180/90 | 2 |  |  | Y
ABB | ABB | HVC-150 | 150 | 1,2,3 |  |  | Y
ABB | ABB | Depot Box | 100 | 1 |  | Y
ABB | ABB | THP - 175 | 175 | 2,3 |  |  | Y
ABB | ABB | THP - 350 | 350 | 2,3 |  |  | Y
ADS-TEC | ADS-TEC | ChargeBox | 320 | 1 |  | Y | Y
ADS-TEC | ADS-TEC | ChargePost | 300/150 | 1,2 |  | Y | Y
AISPEX | AISPEX | Gold Series | 3.8-19.2 | 1 |  | Y | Y
AISPEX | AISPEX | Platinum Series | 3.8-19.2 | 1 | Y | Y | Y
AISPEX | AISPEX | Silver Series | 3.8-19.2 | 1 |  | Y | Y
AUTEL | AUTEL | MAXICHARGER AC ULTRA | 19.2 | 2 |  | Y | Y
AUTEL | AUTEL | MAXICHARGER DC COMPACT | 40 | 2 |  | Y | Y
AUTEL | AUTEL | MAXICHARGER AC ELITE | 9.6/12 | 1 |  | Y | Y
AUTEL | AUTEL | MAXICHARGER DC FAST 60KW-240KW | 240 | 2 |  | Y | Y
BLINK | BLINK | 60-180KW HIGH POWER DCFC | 60-180 | 1,2 |  | Y | Y
BLINK | BLINK | HQ150 Residential | 7.68 | 1 | Y
BLINK | BLINK | IQ-200 Advanced IQW2-80U-M1-R2-N-25 | 19.2 | 1 |  |  | Y
BLINK | BLINK | IQ-200 Smart QW2-80U-W1-N1-N-25 | 19.2 | 1 |  |  | Y
BLINK | BLINK | IQ-200 Kiosk IQW2-00U-M1-R2-N-00 | 19.2 | 0 |  |  | Y
BLINK | BLINK | Portable Gen I IQ 200-M | 9.6 | 1 |  | Y
BLINK | BLINK | Dual Unit (Adv + Smart + Tri Ped) | 19.2 | 2 | Y | Y
BLINK | BLINK | Dual Unit w/Cable Mgmt. | 19.2 | 2 | Y | Y
BLINK | BLINK | Single Unit w/Cable Mgmt. | 19.2 | 1 | Y | Y
BLINK | BLINK | Single Pole Mount w/Cable Mgmt. | 19.2 | 1 | Y | Y
BLINK | BLINK | Dual Pole Mount w/Cable Mgmt. | 19.2 | 2 | Y | Y
BLINK | BLINK | Single Pole Mount + Charger | 19.2 | 1 | Y | Y
BLINK | BLINK | Double Pole Mount + 2 Chargers | 19.2 | 2 | Y | Y
BLINK | TRITIUM | RT TRI93-50-01 | 50 | 1 |  |  | Y
BLINK | TRITIUM | RTM 50 | 50 | 2 |  |  | Y
BLINK | TRITIUM | RTM 175-S | 175 | 1 |  |  | Y
BLINK | TRITIUM | RTM 75 | 75 | 2 |  |  | Y
BREEZEV | BREEZEV | EVC-L2-48A-L1-4G-D-AU-L-4G-5 | 11 | 1 | Y | Y | Y
BREEZEV | BREEZEV | EVC-L2-48A-L1-4G-D-AU-P-4G-5 | 11 | 1 | Y | Y | Y
BREEZEV | BREEZEV | EVC-L2-48A-L1-1-ET-D | 11 | 1 | Y | Y | Y
BTC POWER | BTC POWER | EVDSP-50-5-120-0-2-C-4-0 | 50 | 1,2 |  | Y | Y
BTC POWER | BTC POWER | EVDSP-200-5-120-0-2-C-4-0 | 200 | 1,2 |  | Y | Y
BTC POWER | BTC POWER | EVDSP-350-5-120-0-2-C-4-0 | 350 | 1,2 |  | Y | Y
BTC POWER | BTC POWER | GEN4 180kW All-in-One DC Fast Charger | 180 | 1,2 |  | Y | Y
BTC POWER | BTC POWER | HPCD1-350-01-003 | 350 | 1,2 |  | Y | Y
BTC POWER | BTC POWER | HPCD1-350-02-003 | 350 | 1,2 |  | Y | Y
CHARGEPOINT | CHARGEPOINT | CP6011X-80A-L7 | 19.2 | 1 |  | Y
CHARGEPOINT | CHARGEPOINT | CP6013X-80A-L7 | 19.2 | 1 |  | Y
CHARGEPOINT | CHARGEPOINT | CP6021X-80A-L7 | 19.2 | 2 |  | Y
CHARGEPOINT | CHARGEPOINT | CP6023X-80A-L7 | 19.2 | 2 |  | Y
CHARGEPOINT | CHARGEPOINT | CPH50-NEMA14-50-L23 | 12 | 1 | Y
CHARGEPOINT | CHARGEPOINT | CPH50-NEMA6-50-L23 | 12 | 1 | Y
CHARGEPOINT | CHARGEPOINT | CT4011-GW1 | 7.2 | 1 | Y | Y | Y
CHARGEPOINT | CHARGEPOINT | CT4013-GW1 | 7.2 | 1 | Y | Y | Y
CHARGEPOINT | CHARGEPOINT | CT4021-GW1 | 7.2 | 2 | Y | Y | Y
CHARGEPOINT | CHARGEPOINT | CT4023-GW1 | 7.2 | 2 | Y | Y | Y
CHARGEPOINT | CHARGEPOINT | CT4025-GW1 | 7.2 | 2 | Y | Y | Y
CHARGEPOINT | CHARGEPOINT | CT4027-GW1 | 7.2 | 2 | Y | Y | Y
CHARGEPOINT | CHARGEPOINT | CPF50-L18-PD-DUAL | 12 | 2 |  | Y
CHARGEPOINT | CHARGEPOINT | CPF50-L18-PD | 12 | 1 |  | Y
CHARGEPOINT | CHARGEPOINT | CPF50-L18 | 12 | 1 |  | Y
CHARGEPOINT | CHARGEPOINT | CPF50-L18-Wallmnt-CMK6 | 12 | 1 |  | Y
CHARGEPOINT | CHARGEPOINT | CPF50-L18-CMK6-PD | 12 | 1 |  | Y
CHARGEPOINT | CHARGEPOINT | CPF50-L18-CMK6-PD-DUAL | 12 | 2 |  | Y
CHARGEPOINT | CHARGEPOINT | CPF50-L23 | 12 | 1 |  | Y
CHARGEPOINT | CHARGEPOINT | CPF50-L23-Wallmnt-CMK8 | 12 | 1 |  | Y
CHARGEPOINT | CHARGEPOINT | CPF50-L23-CMK8-PD | 12 | 1 |  | Y
CHARGEPOINT | CHARGEPOINT | CPF50-L23-CMK8-PD-DUAL | 12 | 2 |  | Y
CHARGEPOINT | CHARGEPOINT | CPF50-L23-PD | 12 | 1 |  | Y
CHARGEPOINT | CHARGEPOINT | CPF50-L23-PD-DUAL | 12 | 2 |  | Y
CHARGEPOINT | TRITIUM | CPE200T-S-CHD-CMB | 50 | 2 |  | Y | Y
CHARGEPOINT | CHARGEPOINT | CPE250C-625-CCS1-200A | 62.5 | 1 |  |  | Y
CHARGEPOINT | CHARGEPOINT | CPE250C-625-CCS1-200A-CHD | 62.5 | 2 |  |  | Y
CHARGEPOINT | CHARGEPOINT | EXPP-PB1000-350A-PD | 200 | 1,2 |  |  | Y
CHARGEPOINT | CHARGEPOINT | EXPP-PB1000-300A-PD | 200 | 1,2 |  |  | Y
CHARGEPOINT | CHARGEPOINT | EXPP-PL1021A-5A1S1-2A3S1 | 200-350 | 1 |  |  | Y
CHARGEPOINT | CHARGEPOINT | EXPP-PB1000-250A-PD | 200 | 1,2 |  | Y
CHARGEPOINT | CHARGEPOINT | EXPP-PB1000-200A-PD | 200 | 1,2 |  | Y
CHARGEPOINT | CHARGEPOINT | EXPP-PL1011X-2A1S1 | 200-350 | 1 |  | Y
CHARGEPOINT | CHARGEPOINT | EXPP-PL1021X-2A1S1-2A1S1 | 200-350 | 2 |  | Y
CHARGEPOINT | CHARGEPOINT | EXPP-PM-40kW | 40 |  |  | Y | Y
CYBER SWITCHING | CYBER SWITCHING | CSE1 16-48A | 3.5-11.5 | 1,2 | Y | Y | Y
ENEL X | ENEL X | JuiceBox 32 Plug In/Hardwire | 7.7 | 1 | Y
ENEL X | ENEL X | JuiceBox 40 Plug In/Hardwire | 9.6 | 1 | Y
ENEL X | ENEL X | JuiceBox 48 Plug In/Hardwire | 11.5 | 1 | Y
ENEL X | ENEL X | JuiceBox Pro 32 Hardwired wall mount | 7.7 | 1 | Y | Y
ENEL X | ENEL X | JuiceBox Pro 40 Hardwired wall mount | 9.6 | 1 | Y | Y
ENEL X | ENEL X | JuiceBox Pro 48 Hardwired wall mount | 11.5 | 1 | Y | Y
ENEL X | ENEL X | JuicePedestal 32 w/ UPT US 2.01 & cable mgmt. (Commercial) | 7.7 | 2 | Y | Y
ENEL X | ENEL X | JuicePedestal 40 w/ UPT US 2.01 & cable mgmt. (Commercial) | 9.6 | 2 | Y | Y
ENEL X | TRITIUM | JuicePump - DCFC 50kW charger w/ UPT- 8' cables US (price without LCFS) | 50 | 2 |  |  | Y
EVBOLT | EVBOLT | EVB-AC-J10 (WF,4G,RF,RF/4G,RF/WF) | 11.5 | 1 | Y
EVBOLT | EVBOLT | EVB-AC-PAH7 | 7 | 1 | Y | Y
EVBOLT | EVBOLT | EVB-AC-PAW7 (Must have LAN, 4G, or Wi-Fi option) | 7 | 1 | Y | Y
EVBOLT | EVBOLT | EVB-AC-PAX11 | 11 | 1 | Y | Y
EVBOLT | EVBOLT | EVB-DC-PS60 | 60 | 1,2 | Y | Y | Y
EVBOLT | EVBOLT | EVB-DC-PS160 | 160 | 1,2 | Y | Y | Y
EV CONNECT | ABB | ABB - Terra DC Wallbox with CCS and Chademo (24 kW) | 24 | 2 | Y | Y | Y
EV CONNECT | ABB | ABB - Terra DC Wallbox with CCS only (24 kW) | 24 | 1 | Y | Y | Y
EV CONNECT | ABB | ABB - Terra 54 CJ with CCS and Chademo (50 kW) | 50 | 2 |  |  | Y
EV CONNECT | ABB | ABB - Terra 54 C with CCS only (50 kW) | 50 | 1 |  |  | Y
EV CONNECT | ABB | ABB - Terra 54 HV C with CCS only (50 kW) | 50 | 1 |  |  | Y
EV CONNECT | ABB | ABB - Terra 175 CJ with CCS and Chademo (175 Kw) | 175 | 2 |  | Y | Y
EV CONNECT | ABB | ABB - Terra 175 C with CCS only (175 kW) | 175 | 1 |  | Y | Y
EV CONNECT | ABB | ABB - HVC-150 with 1 CCS dispenser (150 kW) | 150 | 1 |  | Y | Y
EV CONNECT | ABB | ABB - HVC-150 with 2 CCS dispensers (150 kW) | 150 | 2 |  | Y | Y
EV CONNECT | ABB | ABB - HVC-150 with 3 CCS dispensers (150 kW) | 150 | 2 |  | Y | Y
EV CONNECT | ABB | ABB - Terra 94 with 2 CCS cables (90 kW) | 90 | 2 |  | Y | Y
EV CONNECT | ABB | ABB - Terra 124 with 2 CCS cables (120 kW) | 120 | 2 |  | Y | Y
EV CONNECT | ABB | ABB - Terra 184 with 2 CCS cables (180 kW) | 180 | 2 |  | Y | Y
EV CONNECT | BTCPOWER | BTC Power - 30A Pedestal L2P-30-240-15 | 7.2 | 2 | Y | Y
EV CONNECT | BTCPOWER | BTC Power - 30A Wall L2W-30-240-15 | 7.2 | 2 | Y | Y
EV CONNECT | BTCPOWER | BTC Power - 30A Pedestal L2P-30-240-16 | 7.2 | 1 | Y | Y
EV CONNECT | BTCPOWER | BTCPower -30A Wall L2W-30-240-16 | 7.2 | 1 | Y | Y
EV CONNECT | BTCPOWER | BTCPower - 40A Pedestal L2P-40-240-15 | 9.6 | 2 | Y | Y
EV CONNECT | BTCPOWER | BTCPower- 40A Wall L2W-40-240-15 | 9.6 | 2 | Y | Y
EV CONNECT | BTCPOWER | BTCPower - 40A Pedestal L2P-40-240-16 | 9.6 | 1 | Y | Y
EV CONNECT | BTCPOWER | BTCPower - 40A Wall L2W-40-240-16 | 9.6 | 1 | Y | Y
EV CONNECT | BTCPOWER | BTCPower - 70A Pedestal L2P-70-240-16 | 16.8 | 1 | Y | Y
EV CONNECT | BTCPOWER | BTCPower - 70A - Wall L2W-70-240-16 | 16.8 | 1 | Y | Y
EV CONNECT | BTCPOWER | BTCPower-25kW 480V L3S-50-480 | 25 | 2 |  |  | Y
EV CONNECT | BTCPOWER | BTCPower 50kW 208V L3S-50-208 | 50 | 2 |  |  | Y
EV CONNECT | BTCPOWER | BTCPower 100kW L3R-100-480 | 100 | 2 |  |  | Y
EV CONNECT | BTCPOWER | BTCPower 150kW Power Cabinet HPCT-150-480 | 150 | 2 |  |  | Y
EV CONNECT | BTCPOWER | BTCPower 200kW Power Cabinet HPCT-200-480 | 200 | 2 |  |  | Y
EV CONNECT | BTCPOWER | BTCPower 350kW Power Cabinet HPCT-350-480 | 350 | 2 |  |  | Y
EV CONNECT | BTCPOWER | BTCPower 350kW Dispenser HPCD1-350 | 350 | 2 |  |  | Y
EV CONNECT | TRITIUM | Tritium RT50 50kW DCFC | 50 | 2 |  |  | Y
EV CONNECT | TRITIUM | Tritium RTM 75 | 75 | 2 |  |  | Y
EV CONNECT | TRITIUM | Tritium RT175 175kW DCFC | 175 | 2 |  |  | Y
EV CONNECT | EVBOX | EV Box L2 BusinessLine EVB-BDHP-25ft Pedestal | 7.7 | 2 | Y | Y
EV CONNECT | EVBOX | EV Box L2 BusinessLine EVB-BSHP-25ft Pedestal | 7.7 | 1 | Y | Y
EV CONNECT | EVBOX | EV Box L2 BusinessLine EVB-BSHW-25ft Wall | 7.7 | 1 | Y | Y
EV CONNECT | EVBOX | EV Box L2 BusinessLine EVB-BDHW-25ft Wall | 7.7 | 2 | Y | Y
EV CONNECT | EVBOX | EV Box L2 Elvi (wifi) | 7.2 | 1 | Y
EV CONNECT | EVBOX | EV Box Iqon L2 | 7.2 | 2 | Y | Y
EV CONNECT | EVBOX | EV Box Troniq 100kW DCFC | 100 | 2 |  |  | Y
EV CONNECT | POWERCHARGE | E20XXP L2 Dual-port Pedestal | 7.7 | 2 | Y | Y
EV CONNECT | RHOMBUS | RES-DCVC60, RES D2-CS20 | 60 | 1 |  |  | Y
EV CONNECT | RHOMBUS | RES-DCVC125, RES D2-CS20 | 125 | 2 |  |  | Y
EV CONNECT | WALLBOX | Pulsar Plus 40A OCPP | 9.6 | 1 | Y | Y | Y
EV CONNECT | WALLBOX | Pulsar Plus 48A OCPP | 11.5 | 1 | Y | Y | Y
EV CONNECT | FREEWIRE | Boost Charger 120 | 120 | 2 |  |  | Y
EV CONNECT | FREEWIRE | Boost Charger 150 | 150 | 2 |  |  | Y
EVOCHARGE | EVOCHARGE | EvoCharge L2 Wall | 7.7 | 1 | Y | Y
EVOCHARGE | EVOCHARGE | EvoCharge L2 Pedestal | 7.7 | 1 | Y | Y
EVOCHARGE | EVOCHARGE | EvoCharge L2 Pedestal | 7.7 | 2 | Y | Y
EVOCHARGE | EVOCHARGE | EvoCharge L2 W (Wifi) Evo-Innovate | 7.7 | 1 | Y | Y
EVPASSPORT | EVPASSPORT | ZEUS DCFC | 180 | 2 |  | Y | Y
EVPASSPORT | EVPASSPORT | EZRA L2 | 7.7 | 1 |  | Y | Y
EVPASSPORT | EVPASSPORT | HOWARD L2 | 19.2 | 1 |  | Y | Y
EVPASSPORT | EVPASSPORT | ROSA L2 | 11 | 1 | Y | Y | Y
EVSE LLC | EVSE LLC | Model 3704 Smart Level 2 EVSE with Automatic Cable Management, Wall/Single Pole/Dual Pole Mount | 7.2 | 1 |  | Y | Y
EVSE LLC | EVSE LLC | DS SERIES DC EVSE 180KW STANDALONE FAST CHARGER | 180 | 1 |  | Y | Y
EVESCO | EVESCO | EVDC-60 (NA) | 60 | 1,2 |  | Y | Y
EVESCO | EVESCO | EVAC-19i (NA) | 19.2 | 1 |  | Y | Y
EVRANGE | EVRANGE | AC POWER PRO LEVEL 2 CHARGING STATION | 7.7 | 1 |  | Y | Y
FLO | FLO | FLO Home G5 | 7.2 | 1 | Y
FLO | FLO | FLO Home X5 | 7.2 | 1 | Y
FLO | FLO | CoRe+ COCH602EA1-FL-P07 (Gateway Required)CANADA PART # | 7.2 | 1 | Y | Y
FLO | FLO | CoRe+ COCH102AA1-FL-P07 (Gateway Required)CANADA PART # | 7.2 | 1 | Y | Y
FLO | FLO | CoRe+ COPS602EA1-FL-P07 (Gateway Required) CANADA PART # | 7.2 | 1 | Y | Y
FLO | FLO | CoRe+ COPS102AA1-FL-P07 (Gateway Required)CANADA PART # | 7.2 | 1 | Y | Y
FLO | FLO | CoRe+ Max 80A L2 | 19.2 | 1,2 |  | Y | Y
FLO | FLO | SmartTWO S2CH102AA1-FL-P01 (Gateway Required)CANADA PART # | 7.2 | 2 | Y | Y | Y
FLO | FLO | SmartTWO S2CH102AA1-FL-P01 (Gateway Required)CANADA PART # | 7.2 | 2 | Y | Y | Y
FLO | FLO | SmartTWO S2CH102AA1-FL-P01 (Gateway Required)CANADA PART # | 7.2 | 2 | Y | Y | Y
FLO | FLO | SmartTWO S2CH102AA1-FL-P01 (Gateway Required)CANADA PART # | 7.2 | 2 | Y | Y | Y
FLO | FLO | SmartTWO S2CH102AA1-FL-P01 (Gateway Required)CANADA PART # | 7.2 | 2 | Y | Y | Y
FLO | FLO | SmartTWO-BSR S2-V4-TETE-FL-BLCE | 7.2 | 2 |  | Y | Y
FLO | FLO | SmartDC | 50/100 | 1,2 |  |  | Y
FORD | FORD | Pro AC Charging Station 48A | 10/11.5 | 1 |  | Y
FORD | FORD | Pro AC Charging Station 80A | 16.6/19.2 | 1 |  | Y
FORD | FORD | Pro DC Charging Station | 60/120 | 1,2 |  | Y | Y
FORD | FORD | Pro DC Commercial Dispenser | 180 | 2 |  |  | Y
FORD | FORD | Pro DC Industrial Dispenser | 180 | 2 |  | Y
GREENLOTS | ABB | Terra AC Wallbox (Residential) | 7.4 | 1 | Y
GREENLOTS | ABB | DC Wallbox ABB-WALLBOX24-CCS (fleet) | 7.2 | 1,2 | Y | Y | Y
GREENLOTS | ABB | Terra 54 ABB-54CJ-RFID-CCS-CHAd (DCFC) | 7.2 | 2 |  |  | Y
GREENLOTS | ABB | Terra 94 ABB-94CJ-RFID-CCS-CHAd (Fleet) | 7.2 | 2 |  | Y
GREENLOTS | ABB | Terra 124 ABB-124CJ-UL-RFID AUTH-PAYPASS-CHAd (Fleet) | 7.2 | 2 |  | Y
GREENLOTS | ABB | Terra 184 ABB-184CJ-920VDC-RFID-CCS-CHAd (Fleet) | 7.2 | 2 |  | Y
GREENLOTS | EVBOX | Elvi (Residential) | 7.2 | 1 | Y
GREENLOTS | BTC | BTC-30A-SING-PED-CELL-RFID (Multi Fam / Commercial) | 12 | 1 | Y | Y
GREENLOTS | BTC | BTC-30A-DUAL- WAL-CELL-RFID (Multi Fam / Commercial) | 16.8 | 2 | Y | Y
GREENLOTS | BTC | BTC-30A-DUAL- PED-CELL-RFID (Multi fam / Commercial) | 24 | 2 | Y
GREENLOTS | EVBOX | EV-Box Single BusinessLine HUB, RFID, 18ft- WHITE B2320-65063-GRL-07 | 22 | 1 | Y
GREENLOTS | EVBOX | EV-Box Double BusinessLine HUB, RFID, 18ft- WHITE B2323-65063-GRL-07 | 22 | 2 | Y
GREENLOTS | BTC | Ebox Pro (Fleet) | 90 | 1 |  | Y
GREENLOTS | BTC | BTC-70A-SING-WALL-RFID Fleet | 100 | 1 |  | Y
GREENLOTS | TRITIUM | RTM 75 (DCFC) | 120 | 2 |  |  | Y
GREENLOTS | BTC | BTC - 100kW-480 -CCS-CHAdeMo - RFID | 180 | 2 |  |  | Y
GREENLOTS | PHIHONG | UL, DW 30 SERIES | 30 | 1,2 | Y | Y
GREENLOTS | PHIHONG | UL, DS 60 SERIES | 60 | 1,2,3 | Y | Y
GREENLOTS | PHIHONG | UL, DS 90 SERIES | 90 | 1,2,3 | Y | Y
GREENLOTS | PHIHONG | UL, DS 120 SERIES | 120 | 1,2,3 | Y | Y
GREENLOTS | PHIHONG | UL, DS 150 SERIES | 150 | 1,2,3 | Y | Y
GREENLOTS | PHIHONG | UL, DS 180 SERIES | 180 | 1,2,3 | Y | Y
GREENLOTS | PHIHONG | UL, DO 360 SERIES (FAN) | 360 | 1,2 | Y | Y
HELIOX | HELIOX | FLEX 180KW CE/UL (3X60KW) | 180 | 1,2,3 |  | Y
INCHARGE | INCHARGE | ICE-40A AC | 9.6 | 1 |  | Y | Y
INCHARGE | INCHARGE | ICE-80A AC | 19.2 | 1 |  | Y | Y
INCHARGE | INCHARGE | ICE-30KW | 30 | 1,2 |  | Y | Y
INCHARGE | INCHARGE | ICE-60KW | 60 | 1,2 |  | Y | Y
INCHARGE | INCHARGE | ICE-120KW | 120 | 1,2 |  | Y | Y
INCHARGE | INCHARGE | ICE-180KW | 180 | 1,2 |  | Y | Y
JUICEBAR | JUICEBAR | 400 SERIES 40A L2 | 9.6 | 1,2 |  | Y | Y
KEMPOWER | KEMPOWER | C501 POWER UNIT | 200 | 1,2 |  | Y | Y
KEMPOWER | KEMPOWER | C502 POWER UNIT | 400 | 1,2 |  | Y | Y
KEMPOWER | KEMPOWER | C503 POWER UNIT | 600 | 1,2 |  | Y | Y
KEMPOWER | KEMPOWER | C801 POWER UNIT | 200 | 1,2 |  | Y | Y
KEMPOWER | KEMPOWER | C802 POWER UNIT | 400 | 1,2 |  | Y | Y
KEMPOWER | KEMPOWER | C803 POWER UNIT | 600 | 1,2 |  | Y | Y
KEMPOWER | KEMPOWER | C501 STATION CHARGER | 200 | 1,2 |  | Y | Y
KEMPOWER | KEMPOWER | C502 STATION CHARGER | 400 | 1,2 |  | Y | Y
KEMPOWER | KEMPOWER | C801 STATION CHARGER | 200 | 1,2 |  | Y | Y
KEMPOWER | KEMPOWER | C802 STATION CHARGER | 400 | 1,2 |  | Y | Y
KEMPOWER | KEMPOWER | MOVEABLE CHARGER | 50 | 1,2 |  | Y | Y
KEMPOWER | KEMPOWER | SATELLITE | 280 | 1,2 |  | Y | Y
LOOP | LOOP | EV-Flex Lite | 7.68 | 1 | Y
LOOP | LOOP | EV-Flex | 7.68 | 1 | Y
LOOP | LOOP | EV-Fleet | - | 1 |  | Y
LOOP | LOOP | EV-Fast (DC) | 50 | 2 |  |  | Y
NOVACHARGE | NOVACHARGE | NC8000 | 7.68 | 1 | Y | Y | Y
NOVACHARGE | NOVACHARGE | NC7000 | 7.68 | 1 | Y | Y | Y
NOVACHARGE | ABB | Terra Series | - | 1,2 |  |  | Y
NOVACHARGE | BTC | Slim Line Series | - | 1,2 |  |  | Y
NOVACHARGE | EFACEC | QC Series | - | 1,2 |  |  | Y
NUVVE | NUVVE | EVSE-B-P1-H1 | 19.2 | 1 |  | Y
NUVVE | NUVVE | EVSE-B-P3-H1 | 19.2 | 1 |  | Y
NUVVE | NUVVE | RES-HD60-V2G | 60 | 1 |  | Y
NUVVE | NUVVE | RES-HD125-V2G | 125 | 1 |  | Y
OPCONNECT | OPCONNECT | HCS-X0(40/50/60/80A)-N (All models 7.6-15.4KW) | 15.4 | 1,2 | Y
PHIHONG | PHIHONG | UL, DW 30 SERIES | 30 | 1,2 | Y | Y | Y
PHIHONG | PHIHONG | UL, DS 60 SERIES | 60 | 1,2,3 | Y | Y | Y
PHIHONG | PHIHONG | UL, DS 90 SERIES | 90 | 1,2,3 | Y | Y | Y
PHIHONG | PHIHONG | UL, DS 120 SERIES | 120 | 1,2,3 | Y | Y | Y
PHIHONG | PHIHONG | UL, DS 150 SERIES | 150 | 1,2,3 | Y | Y | Y
PHIHONG | PHIHONG | UL, DS 180 SERIES | 180 | 1,2,3 | Y | Y | Y
PHIHONG | PHIHONG | UL, DO 360 SERIES (FAN) | 360 | 1,2 | Y | Y | Y
RIVIAN | RIVIAN | Rivian DCFC Hardware System | 300 | 1 |  | Y | Y
RIVIAN | RIVIAN | Wall Charger | 11.5 | 1 | Y
POSITIVENERGY | POSITIVENERGY | PE-DCVC125-480 | 60 | 2 |  | Y
POWER ELECTRONICS | POWER ELECTRONICS | NBH 1500 (S)H | 150 | 2 | Y | Y | Y
POWER ELECTRONICS | POWER ELECTRONICS | NBH 1800(S)H | 180 | 2 | Y | Y | Y
POWER ELECTRONICS | POWER ELECTRONICS | NBH 1200(S)H | 210 | 2 | Y | Y | Y
POWER ELECTRONICS | POWER ELECTRONICS | NBH 2400(S)H | 240 | 2 | Y | Y | Y
POWER ELECTRONICS | POWER ELECTRONICS | NBDC2000H | 200 | 1 | Y | Y | Y
POWER ELECTRONICS | POWER ELECTRONICS | NBDC2500H | 250 | 1 | Y | Y | Y
POWER ELECTRONICS | POWER ELECTRONICS | NBDC3000H | 300 | 1 | Y | Y | Y
POWER ELECTRONICS | POWER ELECTRONICS | NBDC500CH | 500 | 1 | Y | Y | Y
POWERPUMP | POWERPUMP | AC5500, AC5500-G | 10 | 1 |  | Y | Y
POWERPUMP | POWERPUMP | DC60 | 60 | 1,2 |  | Y | Y
POWERPUMP | POWERPUMP | DC120 | 120 | 1,2 |  | Y | Y
POWERPUMP | POWERPUMP | DC150 | 150 | 1,2 |  | Y | Y
POWERPUMP | POWERPUMP | DC180 | 180 | 1,2 |  | Y | Y
PROTERRA | PROTERRA | PC-060-PI | 60 | 1 |  | Y | Y
PROTERRA | PROTERRA | PC-090-PI | 90 | 1 |  | Y | Y
PROTERRA | PROTERRA | PC-120-PI | 120 | 1,2 |  | Y | Y
PROTERRA | PROTERRA | PC-150-PI | 150 | 1 |  | Y | Y
PROTERRA | PROTERRA | PC-180-PI | 180 | 1,2 |  | Y | Y
PROTERRA | PROTERRA | PD-200-1-PI | 150 | 1,2 |  | Y | Y
PROTERRA | PROTERRA | PD-300-1-PI | 150 | 1,2 |  | Y | Y
SEMA CONNECT | SEMA CONNECT | Series 6 | 7.2 | 1,2 | Y
SEMA CONNECT | SEMA CONNECT | Series 5 | 7.2 | 1,2 | Y
SEMA CONNECT | SEMA CONNECT | Series 7 | 7.2 | 2 |  | Y | Y
SEMA CONNECT | SEMA CONNECT | Series 7 Plus EV CHARGING FOR FLEET | 19.2 | 2 |  | Y
SEMA CONNECT | SEMA CONNECT | Series 4 | 12 | 1 | Y
SEMA CONNECT | EFACEC | SC50 | 50 | 2 |  |  | Y
SEMA CONNECT | EFACEC | SC160 | 160 | 2 |  |  | Y
SIEMENS | SIEMENS | SICHAARGE 100/100C | 100 | 1 |  | Y
SIEMENS | SIEMENS | SICHAARGE 200/200C | 200 | 1 |  | Y
SIEMENS | SIEMENS | SICHAARGE UC DISPENSER | 100 | 1 |  | Y
SIEMENS | SIEMENS | SICHAARGE UC DISPENSER | 150 | 1 |  | Y
SIEMENS | SIEMENS | SICHAARGE UC DISPENSER | 300 | 1 |  | Y
SIEMENS | SIEMENS | SICHAARGE UC MAST MOUNTED HOOD | 600 | 1 |  | Y
SIEMENS | SIEMENS | SICHAARGE UC INVERTED PANTOGRAPH | 600 |  |  | Y
SIEMENS | SIEMENS | VERSICHARGE AC SERIES | 11.5 | 1 |  | Y | Y
SK SIGNET | SK SIGNET | DP400K-C2-PS | 400 | 1,2 |  | Y | Y
SK SIGNET | SK SIGNET | HDP350K-CM2-A | 100/350 | 1,2 |  | Y | Y
SK SIGNET | SK SIGNET | HDP350K-CC-A | 100/350 | 1,2 |  | Y | Y
SK SIGNET | SK SIGNET | HPC175K-PS-A | 175 | 2 |  | Y | Y
SK SIGNET | SK SIGNET | PC600K-PS | 600 | N/A |  | Y | Y
TELLUS | TELLUS | UP160J-WMP-COM (Wall Mount) | 7.2 | 2 | Y | Y | Y
TELLUS | TELLUS | UP160J-CMP-COM (Pole Mount) | 7.2 | 2 | Y | Y | Y
TELLUS | TELLUS | UP160J-PMP-COM (Pedestal Mount) | 7.2 | 2 | Y | Y | Y
TELLUS | TELLUS | TP-EVPD 30KW DC Fast Charging Station – Wall Mount | 30 | 1 | Y | Y | Y
TELLUS | TELLUS | TP LEV3-60KW DC Fast Charging Station | 60 | 2 |  | Y | Y
TELLUS | TELLUS | TP3-60-480-1 | 60 | 1 | Y | Y | Y
TELLUS | TELLUS | TP LEV4-120KW DC Fast Charging Station | 120 | 2 |  | Y | Y
TESLA | TESLA | GEN 3 WALL CONNECTOR 48A | 11.5 | 1 | Y | Y | Y
TESLA | TESLA | J1772 WALL CONNECTOR 48A | 11.5 | 1 | Y | Y | Y
TESLA | TESLA | V3 Supercharger | 250 | 1 |  | Y | Y
TOUCHMATE | TOUCHMATE | EV-Focus (EV-Fleet) | 19.2 | 1,2 |  | Y
TOUCHMATE | TOUCHMATE | EV-Focus (EV-Flex/EV-Flex Lite) | 7.68 | 1,2 |  |  | Y
TRITIUM | TRITIUM | RT50 | 50 | 1,2 |  | Y | Y
TRITIUM | TRITIUM | RTM75 | 75 | 1,2 |  | Y | Y
TRITIUM | TRITIUM | PKM150 | 150 | 1,2 |  | Y | Y
TRITIUM | TRITIUM | RT175 | 175 | 1,2 |  | Y | Y
WALLBOX | WALLBOX | Commander 2 | 3.7-22 | 1 | Y | Y | Y
WALLBOX | WALLBOX | Commander 2S | 3.7-22 | 1 | Y | Y | Y
WALLBOX | WALLBOX | Copper SB | 11 - 22 | 1 |  | Y | Y
WALLBOX | WALLBOX | Pulsar Max OCCP 32A | 7.4 | 1 | Y | Y | Y
WALLBOX | WALLBOX | Pulsar Max OCCP 400V 3PH | 11 | 1 | Y | Y | Y
WALLBOX | WALLBOX | Pulsar Max OCCP 400V 3PH | 22 | 1 | Y | Y | Y
WALLBOX | WALLBOX | Pulsar Plus OCCP 32A | 7.4 | 1 | Y | Y | Y
WALLBOX | WALLBOX | Pulsar Plus OCCP 40A | 9.6 | 1 | Y | Y | Y
WALLBOX | WALLBOX | Pulsar Plus OCCP 48A | 11.5 | 1 | Y | Y | Y
ZEF | ZEF | 7.7kW ZEFNET 40A Single-Head Wall Mount | 7.7 | 1 | Y
ZEF | ZEF | 11.5kW ZEFNET 60A Single-Head Wall Mount | 11.5 | 1 | Y
ZEF | ZEF | 15.4kW ZEFNET 80A Single-Head Wall Mount | 15.4 | 1 | Y | Y
ZEF | ZEF | 15.4kW ZEFNET Dual-Head Pedestal (2 x 40A) | 15.4 | 2 | Y | Y
ZEF | ZEF | 23kW ZEFNET Dual-Head Pedestal (2 x 60A) | 23 | 2 | Y | Y
ZEF | ZEF | 30.8kW ZEFNET Dual-Head Pedestal (2 x 80A) | 30.8 | 2 | Y | Y
ZEF | ZEF | 7.7kW ZEFNET Single-Head Pedestal (40A) | 7.7 | 1 | Y
ZEF | ZEF | ZEFNET PRO DUAL HEAD PEDESTAL (2x 40A,60A, 80A) | 15.4/23/30.8 | 2 | Y | Y | Y
This shape represents a table slicer. Table slicers are not supported in this version of Excel. If the shape was modified in an earlier version of Excel, or if the workbook was saved in Excel 2007 or earlier, the slicer can't be used.
This shape represents a table slicer. Table slicers are not supported in this version of Excel. If the shape was modified in an earlier version of Excel, or if the workbook was saved in Excel 2007 or earlier, the slicer can't be used.

## Network
ELIGIBLE EV NETWORK LIST
Colorado, Minnesota and Wisconsin
Mar. 2023
FOR USE WITH ALL OPCOS EXCEPT NEW MEXICO PUBLIC CHARGING
Vendor | Network Manufacturer | Model | Application
|  |  | C&I, MFH-NA | Fleet | Public
Vendor | Network Manufacturer | Model | C&I, MFH-NA | Fleet | Public
AmpUp | AmpUP | Electric Vehicle (EV) Charging Operating System |  | Y | Y
This shape represents a table slicer. Table slicers are not supported in this version of Excel. If the shape was modified in an earlier version of Excel, or if the workbook was saved in Excel 2007 or earlier, the slicer can't be used.
This shape represents a table slicer. Table slicers are not supported in this version of Excel. If the shape was modified in an earlier version of Excel, or if the workbook was saved in Excel 2007 or earlier, the slicer can't be used.