## Workgroup Meeting Dates.Minutes
Year | Quarter | Workgroup Meeting Date | Meeting Minutes
2022 | Q1 | February 8, 2022 | Coming Soon
2021 | Q4 | November 10, 2021 | 2021-11-10 | This information is provided as a matter of convenience only to provide a rough index of certain topics covered in prior workgroup meetings and can not be relied upon as being comprehensive nor explaining all details or nuances of all current policies or procedures. This is only periodically updated. We reserve the right to periodically provide corrections.
2021 | Q3 | July 29, 2021 | 2021-07-29
2021 | Q2 | May 18, 2021 | 2021-05-18
2021 | Q1 | February 17, 2021 | 2021-02-17
2020 | Q4 | November 17, 2020 | 2020-11-17
2020 | Q3 | July 29, 2020 | 2020-07-29
2020 | Q2 | May 19, 2020 | 2020-05-19
2020 | Q1 | January 27, 2020 | 2020-01-27
2019 | Q4 | November 7, 2019 | 2019-11-07
2019 | Q3 | August 7, 2019 | 2019-08-07
2019 | Q2 | May 23, 2019 | 2019-05-23
2019 | Q1 | February 14, 2019 | 2019-02-14
2018 | Q4 | November 14, 2018 | 2018-11-14
2018 | Q3 | September 12, 2018 | 2018-09-12
2018 | Q2 | June 17, 2018 | 2018-06-18
2018 | Q2 | May 9, 2018 | 2018-05-09
2018 | Q1 | March 14, 2018 | 2018-03-14
2018 | Q1 | January 17, 2018 | 2018-01-17
2017 | Q4 | November 7, 2017 | 2017-11-07
2017 | Q4 | October 11, 2017 | 2017-10-11
2017 | Q3 | August 16, 2017 | 2017-08-16
2017 | Q2 | June 15, 2017 | 2017-06-15
2017 | Q2 | May 10, 2017 | 2017-05-10
2017 | Q1 | March 15, 2017 | 2017-03-15
2017 | Q1 | January 12, 2017 | 2017-01-12
2016 | Q4 | December 14, 2016 | 2016-12-14
2016 | Q4 | November 9, 2016 | 2016-11-09
2016 | Q4 | October 12, 2016 | 2016-10-12
2016 | Q3 | September 9, 2016 | 2016-09-16
2016 | Q3 | August 10, 2016 | 2016-08-10
2016 | Q3 | July 13, 2016 | 2016-07-13
2016 | Q2 | June 8, 2016 | 2016-06-08
2016 | Q2 | May 4, 2016 | 2016-05-04
2016 | Q2 | April 6, 2016 | 2016-04-06
2016 | Q1 | March 8, 2016 | 2016-03-08
2016 | Q1 | February 10, 2016 | 2016-02-10
2016 | Q1 | January 14, 2016 | 2016-01-14

## Index
**This information is provided as a matter of convenience only to provide a rough index of certain topics covered in prior workgroup meetings and can not be relied upon as being comprehensive nor explaining all details or nuances of all current policies or procedures. This is only periodically updated. We reserve the right to periodically provide corrections.**
Discussion | Interconnection Process | Discussion Topic | Topic Group | Workgroup Meeting Date & Minutes | Meeting Minutes PDF Page No. | Key Takeaways | Corresponding Documents / Page Links
2021 - Q4 | MN DIP | Professional Behavior | All | 2021-11-10 | 6 | Discussion on professional behavior standards.
2021 - Q4 | MN DIP | 2021 Program Year In Review | Program: Solar*Rewards | 2021-11-10 | 7 | Discussion and Review of the 2021 Solar*Rewards Program. Discussion included topics such as incentive funding, total number of projects allocated incentive funding, and estiamted to-date MW installed in 2021.
2021 - Q4 | MN DIP | Metering and Testing | Program: Solar*Rewards | 2021-11-10 | 7-8 | The Company reiterated Metering and Testing best practices. Discussion included best practices prior and during the test, professional behavior expectations, new meter scheduling process, along with lead times for test scheduling.
2021 - Q4 | MN DIP | 2022 Program Overview | Program: Solar*Rewards | 2021-11-10 | 9-10 | Discussion regarding the Solar*Rewards 2022 Program, including: administration budget, approved incentive structure, program launch date and incentive funding allocation/waitlist.
2021 - Q4 | MN DIP | Program Proposal | Program: Solar*Rewards For Schools | 2021-11-10 | 10-12 | Discussion regarding a brief overview of the new Solar*Rewards for Schools program proposal. | 2022.01.26 Other - Petition for Approval of Tariffs
|  | Program Proposal |  |  |  |  | 2021.12.20 Decision - Deputy Commissioners Decision
|  | Program Proposal |  |  |  |  | 2021.10.01 Initial Filing - Program Proposal
2021 - Q4 | MN DIP | Interconnection Process Improvements | All | 2021-11-10 | 12-15 | Discussion and feedback regarding the Company's portal enhancements and implementation.
2021 - Q4 | MN DIP | Standards and Practices Documents | All | 2021-11-10 | 15-16 | Discussion regarding the Company's initative for increased transparency to the Company's standards and practices by creating a document that will host all prior Workgroup Meeting topics/discussions in one location for ease of access. The Company additionally provided a list of all engineering practices that the Company has posted since quarter three and noted that we did revamp our entire interconnection webpage in early August. A new resource tool: Suggested Tools to Utilize Before Submitting an Interconnection Application is also available on the Company's interconnection website. | Engineering Practice: Technical Planning Limits
|  | Standards and Practices Documents |  |  |  |  | Diagram: Technical Planning Limits
|  | Standards and Practices Documents |  |  |  |  | Office Hour: DER Technical Planning Limits PowerPoint (September 24, 2021)
|  | Standards and Practices Documents |  |  |  |  | Office Hour: DER Technical Planning Limits Recording (September 24, 2021)
|  | Standards and Practices Documents |  |  |  |  | Follow-up Question and Answers: DER Technical Planning Limits
|  | Standards and Practices Documents |  |  |  |  | Suggested Tools to Use Before Submitting an Interconnection Application
2021 - Q4 | MN DIP | Requests for Modifications (Material Mod.) | Engineering | 2021-11-10 | 16-18 | Discussion and review of the Request for Modification process. Any changes once an application has been Deemed Complete, must go through the Modification Process (MN DIP 1.6).
2021 - Q4 | MN DIP | Unit Based Pricing - Facilities and System Impact Studies | Engineering | 2021-11-10 | 18-20 | Discussion regadining updates to the facilities studies in relation to the cost of the engineering review. Additionally, the Company provided updates to their System Impact Study unit-based pricing based and noted that this project is still in progress, and thus pricing is not confirmed yet. the Company will provide an update next quarter.
2021 - Q4 | MN DIP | Engineering Tools for Developers | Engineering | 2021-11-10 | 20-22 | Review on tools that developers can use before submitting a formal Interconnection Application such as Hosting Capacity Map, Public DER Queue, and Pre-Application Data Report.
2021 - Q4 | MN DIP | Completeness Reviews | Engineering | 2021-11-10 | 22-27 | Grounding Requirements: Discussion regarding grounding requiremtns and feedback from stakeholders at the Q3 Workgroup Meeting. Protective Devices: The Company explained the Completeness Review requirement 3.7. This requirement requires that the main service protection needs to be between the DER and the utility and that the protective device is provided immediately after the main service meter. Starting November 1, 2021, the Company will be consistent in requiring that the protective device is immediately after the main service meter. Completeness Review Rejections: The Company provided a reminder that the resources for identifying what the requirements are for the completeness review are on the Company’s interconnection webpage. Examples of one-line diagrams and site plans can also be found on our interconnection webpage. | Completeness Review Requirements
2021 - Q4 | MN DIP | Batch and Cluster Study Offerings and Pilots | Engineering | 2021-11-10 | 27-28 | Discussion regarding the Company's offerings of both Batch and Cluster studies, expected timelines, along with describing the differences between a batch and cluster study.
2021 - Q4 | MN DIP | Transmission Affected System Study | Engineering | 2021-11-10 | 28-29 | The Company continued the Transmission Affected System Impact Study discussion from previous quarters and provided updates on the status of the Company's agreement with Midcontinent Independent System Operator (MISO) (the independent transmission system operator as it covers the transmission affected system studies). Discussion also covered where studies would be applicable, and financial requirements.
2021 - Q4 | MN DIP | Distributed Generation Workgroup (DGWG) | Program: Solar*Rewards Community, Solar*Rewards, Distributed Generation | 2021-11-10 | 30 | The Company provided a brief overview and update related to the DGWG. The Company filed Initial Comments on August 25, 2021, and Reply Comments on October 1, 2021 in Docket 16-521, that made note of our proposed policy and MN DIP process changes. Additionally, we filed a response to objections on October 12, 2021, that announced the Company’s plan to hold on implementing the Company’s DER Technical Planning Limit until further discussion and direction from the Commission on that matter. | 2021.10.12 Other - Reply to Objection
|  | Distributed Generation Workgroup (DGWG) |  |  |  |  | 2021.10.01 Reply Comments
|  | Distributed Generation Workgroup (DGWG) |  |  |  |  | 2021.08.25 Comments - Xcel Energy Comments
2021 - Q4 | MN DIP | Queue Management | Program: Solar*Rewards Community, Solar*Rewards, Distributed Generation | 2021-11-10 | 30-31 | Discussion regarding the Company continuing to see applications being submitted on capacity constrained feeders or substations. The Company reminded stakeholders to utilize the known capacity constraints tab [within the public queue report] prior to submitting an application.
2021 - Q4 | MN DIP | Minnesota Distributed Energy Resources Interconnection Process (MN DIP) Dispute Resolution Process | Regulatory | 2021-11-10 | 31-32 | The Company provided some clarity on MN DIP 5.3.6 regarding next steps/timelines once the Company has provided their formal response and the parties have met to discuss the dispute.
2021 - Q4 | MN DIP | Design and Construction | Engineering | 2021-11-10 | 32-33 | The Company reviewed high-level design and construction changes and updates that have been happening in the last quarter, including patterns that we have seen in the last six months to a year, especially those that may hinder the Company’s ability to move through our design and construction phase more swiftly.
2021 - Q4 | MN DIP | Permitting | Engineering | 2021-11-10 | 32-33 | The Company reiterated from past quarterly meetings, especially for new stakeholders, that there are many different types of permits needed for projects, including city, state, county, DNR, Railroad and the developer’s conditional use permit (CUP).The Company reminded stakeholders that when parties are obtaining their CUP, to not speak on behalf of Xcel Energy or promise the Company’s system to look a certain way.
2021 - Q4 | MN DIP | Slack Span | Engineering | 2021-11-10 | 33 | The Company cautioned all garden operators on slack spans and noted that if we see these in the future and no improvement is made on the developer side of the meter, we will disconnect the garden until the garden owned poles are taken care of and the wires do not cause reliability issues on the Xcel Energy system. The Company reminded stakeholders to please ensure that their system will withstand the wind and all other elements in Minnesota for the life of the garden.
2021 - Q4 | MN DIP | Winter Construction | Engineering | 2021-11-10 | 33 | Discussion regarding winter construction charges between October 1st and April 15th.
2021 - Q4 | MN DIP | Detail Design Cost Estimate | Engineering | 2021-11-10 | 34-35 | The Company provided an overview of the MN DIP process in terms of cost estimates. The first estimate that an applicant receives is the SIS deskside estimate. As large gardens are constructed, the Company currently voluntarily provides applicants with a detailed design cost estimate. These have been voluntary throughout the Company’s program. The Company reminded stakeholders that if they are expecting a detail design cost estimate, and it has not yet been received (prior to the Company commencing construction), that it is the applicant’s responsibility to reach out to the Xcel Energy designer who has been assigned to their project, to request for one.
2021 - Q4 | MN DIP | In Service Date (ISD) | Engineering | 2021-11-10 | 35 | Discussion/reminders regarding In Service Dates (ISDs). The Company has seen movement of in-service dates for various reasons on the developers’ side, caused by factors such as supply chain issues. If this happens, a developer may incur additional costs due to mobilization charges and the Company having to move back and forth between projects.
2021 - Q4 | MN DIP | Metering | Engineering | 2021-11-10 | 35-36 | The Company discussed that the process for procuring metering equipment takes place at least 20 weeks prior to the ISD. The Company discussed a recent trend with two common requirements that are missing or incorrect, causing delays in procurement, or potentially ISDs having to be moved out: 1.) Missing CT cabinet cut sheets; and 2.) Placement of the actual CT polarity dot that is on the Single Line Diagram.
2021 - Q4 | MN DIP | Energization and Acceptance Testing | Engineering | 2021-11-10 | 36 | Discussion and reminders regarding scheduling energization and acceptance testing.
2021 - Q4 | MN DIP | Attachment 4 | Engineering | 2021-11-10 | 36-37 | Discussion regarding updates on changes to the Attachment 4: Milestones (to MNDIA). Attachment 4 included in the MNDIA has been updated with the Commercial Operation requirements to better align with MN DIP.
2021 - Q4 | MN DIP | Dashboard | Program: Solar*Rewards Community | 2021-11-10 | 37-38 | The Company provided an update regarding the status (as of November 8, 2021) of the Solar*Rewards Community program.
2021 - Q4 | MN DIP | Program Reminders | Program: Solar*Rewards Community | 2021-11-10 | 38-39 | The Company provided reminders such as 1.) the Community Solar Garden Developers webpage should be utilized by developers for the most updated versions of all forms and trainings. All document and training updates will be posted to our webpage; 2.) The SRCMN@xcelenergy.com email address should be copied on all Solar*Rewards Community related correspondence; 3.) Call agendas should be provided at least 48 hours, or 2 business days, in advance of a scheduled meeting with the Company; 4.) All gardens must have an active Primary Application Manager (PAM), that is responsive to program emails and relays information to all appropriate parties.
2021 - Q4 | MN DIP | Subscriber Management | Program: Solar*Rewards Community | 2021-11-10 | 39 | Discussion regarding the Company's efforts to significantly update our “How to Submit or Edit a Subscription” training document hosted on our Developer Resources webpage. We updated this documenton October 20, 2021, that walks stakeholders through the specific fields and how to match those to the fields in the portal, so when this is submitted to the Company’s Data Privacy team there are not any errors through the automated process. This will also help to speed up the time that it takes for importing subscribers.
2021 - Q4 | MN DIP | Third Party Billing, Tenants | Program: Solar*Rewards Community | 2021-11-10 | 39-40 | Xcel Energy provided a brief update on a Petition that was filed on September 23, 2021 in Dockets No. 13-867 and 21-695 to amend its CSG tariff regarding third party billing changes. Joint parties have worked together to create proposed tariff modifications that aim to help tenants and rental premises that are subject of CSG subscriptions to retain consumer protections and obtain full access to state and utility assistance programs. A comment period has been issued for this topic. Initial comments are due on Monday, November 15, 2021 with reply comments due on Monday, November 29, 2021. | 2021.12.06 Reply Comments
|  | Third Party Billing, Tenants |  |  |  |  | 2021.09.23 Initial Filing - Community Solar Gardens - Third Party Billing Changes
2021 - Q4 | MN DIP | Value of Solar (VOS) | Program: Solar*Rewards Community | 2021-11-10 | 40 | Discussion regarding the 2022 VOS calculation for vintage year 2022. Initial comments are due on Thursday, December 2, 2021, with reply comments due on Monday, December 13, 2021. The Department of Commerce noted that they are having a stakeholder meeting on Monday, November 15, 2021, at 3:00 PM CST, to talk about locational avoided distribution cost methodology.
2021 - Q4 | MN DIP | Residential Adder | Regulatory | 2021-11-10 | 40 | The residential adder was extended by the Commission for an additional two years for all projects in VOS vintage years 2021 and 2022 at the current rate of .015 cents per kWh. The Company plans to file a proposal regarding a CSG on bill payment for certain CSGs by May 1, 2022. The Company will also be working with stakeholders to update the process for subscriber address transfers to avoid or reduce subscription period gaps.
2021 - Q4 | MN DIP | Low Income Subscribers | Regulatory | 2021-11-10 | 40 | The Company plans to host a low-income stakeholder meeting on Friday, December 3, 2021. Any suggested agenda items or additional stakeholders who would like to attend this meeting, should reach out to the SRCMN program team via the SRCMN email.
2021 - Q4 | MN DIP | Planned Outages | Regulatory | 2021-11-10 | 40-41 | Discussion regarding planned outages, regulatory updates/filings, the arc flash study, usage of electronic reclosers to mitigate future planned outages for hotline work, along with details and the progress of the Company's advanced notification initiative. Additionally, the Company reminded stakeholders that the Company has resources in relation to planned outages for community solar gardens that are available on the developer resources webpage. If stakeholders do have additional questions on a planned outage, please send those inquiries to the SRCMN program team. | SRCMN Office Hour Planned Outage Notifications (PPT)
|  | Planned Outages |  |  |  |  | 2021.09.01 Compliance Filing - Planned Outages
|  | Planned Outages |  |  |  |  | 2021.06.22 Compliance Filing - Planned Outages
2021 - Q3 | MN DIP | Professional Behavior | All | 2021-07-29 | 4 of 93 | Discussion on professional behavior standards.
2021 - Q3 | MN DIP | Dashboard | Program: Solar*Rewards Community | 2021-07-29 | 5 of 93 | The Company provided an update regarding the status (as of July, 2021) of the Solar*Rewards Community program.
2021 - Q3 | MN DIP | Application Portal | All | 2021-07-29 | 5-6 of 93 | Discussion regarding the continued work to their portal enhancement/update project. The target implementation date is late August 2021. Demos for the new portal have been sent to stakeholders via the SRCMN email distribution list.
2021 - Q3 | MN DIP | Webpage Update | All | 2021-07-29 | 6 of 93 | The Company is in the process of revamping their interconnection webpage. The interconnection webpage is designed for all interconnection applicants (across all Xcel Energy programs; S*R, S*RC, DG, etc.). Most of the Company’s technical resources can be found on this webpage.
2021 - Q3 | MN DIP | Hosting Capacity | Engineering | 2021-07-29 | 6 of 93 | Provides a high-level estimate of the available hosting capacity for adding distributed generation. The Company recommends entering in a project’s coordinates or address, to view the status of available hosting capacity. Additional details on the hosting capacity map can be found in the Company’s August 4, 2021 supplemental filing in docket no. E002/M-20-812.
2021 - Q3 | MN DIP | Public DER Queue | Program: Solar*Rewards Community | 2021-07-29 | 7 of 93 | After a feeder or substation that a project would be interconnecting to has been identified, the Company suggests for applicants to view their public DER queue. The public DER queue is a robust tool that allows for applicants to view others that are in the queue for a potential cluster or batch study (if necessary), as well as viewing other applications that are triggering upgrades, the costs associated with upgrades, etc. Additionally, there is a known capacity constraints tab with additional information for applicants. As of June 2021, the public DER queue now includes withdrawn applications. Additional updates that have been made to the queue can be found in the Q2 SRCMN workgroup meeting minutes.
2021 - Q3 | MN DIP | Pre-Application Data Reports | Program: Solar*Rewards Community | 2021-07-29 | 7 of 93 | The data presented in the pre-application report is limited and aims to provide developers with a surface level indication regarding if a project is at a good location. The Company recommends that developers use this tool in conjunction with the hosting capacity map and the public queue report. No interconnection is guaranteed without a formal application and the project going through a full study process. There is a $300 fee, while other tools noted above are free to utilize.
2021 - Q3 | MN DIP | System Impact Studies (SIS) Office Hour | Engineering | 2021-07-29 | 7 of 93 | The Company will be hosting an office hour, regarding the technical intricacies associated with the System Impact Study (SIS). The Company recommends that stakeholders bring engineers to this office hour that is tentatively scheduled Thursday, August 12, 2021. The recording to this office hour is available on the Company’s Minnesota Solar Installers YouTube channel. | Office Hour: System Impact Study Report (Technical) YouTube
2021 - Q3 | MN DIP | Batch and Cluster Study Offerings and Pilots | Engineering | 2021-07-29 | 7-8 of 93 | Discussion regarding the Company's offerings of both Batch and Cluster studies, expected timelines, along with describing the differences between a batch and cluster study.
2021 - Q3 | MN DIP | Transmission Affected System Study | Engineering | 2021-07-29 | 8 of 93 | Update on Transmission Affected System Study with MISO.
2021 - Q3 | MN DIP | Continuity of Service Study | Engineering | 2021-07-29 | 8-10 of 93 | Review and discussion of the implementation of the new Continuity of Services study.
2021 - Q3 | MN DIP | Maximum Conductor Size for DER | Engineering | 2021-07-29 | 10-11 of 93 | Review of the standard conductor size for MN DER, 336 ACSR. | Engineering Practice: Maximum Conductor Size for DER (PDF)
2021 - Q3 | MN DIP | Standards and Practices Documents | All | 2021-07-29 | 11 of 93 | Discussion regarding the Company's initative for increased transparency to the Company's standards and practices by creating a document that will host all prior Workgroup Meeting topics/discussions in one location for ease of access.
2021 - Q3 | MN DIP | Chint Inverters | Engineering | 2021-07-29 | 11 of 93 | Discussion on operational issues the Company has experienced with Chint branded inverters.
2021 - Q3 | MN DIP | Funding Your Interconnection Agreement | Program: Solar*Rewards Community | 2021-07-29 | 12-13 of 93 | Discussion on paying for and securitizing Interconnection Agreements (IAs).
2021 - Q3 | MN DIP | Design and Construction | Engineering | 2021-07-29 | 13-14 of 93 | Discussion on the Company designing their system, long-lead times and market volatility due to supply chain issues.
2021 - Q3 | MN DIP | Site Plans | Engineering | 2021-07-29 | 15 of 93 | Discussion regarding site plans that the Company approves is not an approval of the placement of the Company’s owned equipment.
2021 - Q3 | MN DIP | Requests for Modifications (Material Mod.) | Engineering | 2021-07-29 | 15 of 93 | Discussion regarding expediting the review process for Modifications. Additionally, a reminder for stakeholders to be very clear with identifying what the material modification consists of.
2021 - Q3 | MN DIP | Substation and Transmission | Engineering | 2021-07-29 | 15 of 93 | The Company is continuing to experience long lead times for substation and transmission equipment (such as regulators, breakers, mobile units, etc.).
2021 - Q3 | MN DIP | Easements | Engineering | 2021-07-29 | 15 of 93 | Discussion regarding easements, and further noting that they must be obtained utilizing the Company’s standard form/language.
2021 - Q3 | MN DIP | Attachment 4 | Engineering | 2021-07-29 | 16 of 93 | Discussion regarding updates on changes to the Attachment 4: Milestones (to MNDIA).
2021 - Q3 | MN DIP | Insurance Requirements | Program: Solar*Rewards Community | 2021-07-29 | 16 of 93 | Insurance Review Checklist has been updated with branding and formatting. There has not been any content changes to the document. | https://www.xcelenergy.com/staticfiles/xe-responsive/Working%20With%20Us/Renewable%20Developers/21-05-533_MN-SolarRewards-Insurance_P02.pdf
2021 - Q3 | MN DIP | Insurance Requirements | Program: Solar*Rewards Community | 2021-07-29 | 16 of 93 | The new DG Interconnection Insurance Guidelines document provides clarification on insurance guidelines that have been implemented and practiced by the Company. | Insurance Requirement Checklist Completed and Approved
2021 - Q3 | MN DIP | Signed MRETs Registration | Program: Solar*Rewards Community | 2021-07-29 | 17 of 93 | Discussion regarding an updated MRET registration template with newly added fields. | Signed MRETs Registration - Schedule A (With EIA # if 1MW)
|  | Signed MRETs Registration |  |  |  |  | Signed MRETs Registration - Registration Template (XLSX) (With EIA # if 1 MW)
2021 - Q3 | MN DIP | Developer Annual Reports | Regulatory | 2021-07-29 | 17 of 93 | Annual reports are required from all developers and were due on June 1, 2021. A notice to cure would be sent for those that were not provided.
2021 - Q3 | MN DIP | Subscriber Billing Date Change | Program: Solar*Rewards Community | 2021-07-29 | 17 of 93 | Bill credits are now aligned with the standard billing cycle consistently on monthly statement.
2021 - Q3 | MN DIP | Subscriber Resources | Program: Solar*Rewards Community | 2021-07-29 | 17 of 93 | The Company has resources available regarding subscriber management on both their developer facing webpage and subscriber facing webpage. | Community Solar Garden Developer Resources
|  | Subscriber Resources |  |  |  |  | Solar*Rewards Community
2021 - Q3 | MN DIP | Invalid Subscribers | Program: Solar*Rewards Community | 2021-07-29 | 17-18 of 93 | Clarification on how to navigate this process and how to prevent delays associated with invalid subscribers.
2021 - Q3 | MN DIP | Fuel Clause Rider | Program: Solar*Rewards Community | 2021-07-29 | 18-19 of 93 | An overview of the Minnesota fuel clause rider.
2021 - Q3 | MN DIP | Planned Outages | Regulatory | 2021-07-29 | 19-21 of 93 | Discussion regarding regulatory updates, the arc flash study, usage of electronic reclosers to mitigate future planned outages for hotline work, along with details and the progress of the Company's advanced notification initiative. | 2021.06.22 Compliance Filing - Planned Outages
2021 - Q3 | MN DIP | Value of Solar (VOS) | Program: Solar*Rewards Community | 2021-07-29 | 21-24 of 93 | Discussion regarding the 2022 VOS.
2021 - Q2 | MN DIP | Professional Behavior | All | 2021-05-18 | 4 of 92 | Discussion on professional behavior standards.
2021 - Q2 | MN DIP | Interconnection Process Improvements | Program: Solar*Rewards Community | 2021-05-18 | 5-6 of 92 | Discussion regarding the Company's LEAN process Improvement review and application portal updates.
2021 - Q2 | MN DIP | Requests from Stakeholders | Program: Solar*Rewards Community | 2021-05-18 | 6 of 92 | The SRCMN program team receives over 200 emails inquiries per day and processes these inquiries in the order in which they are received.
2021 - Q2 | MN DIP | Engineering Tools for Developers | Engineering | 2021-05-18 | 6-9 of 92 | Review on tools that developers can use before submitting a formal Interconnection Application such as Hosting Capacity Map, Public DER Queue, and Pre-Application Data Report.
2021 - Q2 | MN DIP | Completeness Reviews | Program: Solar*Rewards Community | 2021-05-18 | 9-10 of 92 | Discussion on Completeness Reviews and resources (requirements and examples) that can be found on Xcel Energy’s interconnection webpage. | Completeness Review Requirements
2021 - Q2 | MN DIP | Electrical Component Schematic | Engineering | 2021-05-18 | 10 of 92 | Discussion regarding an update that was last released on March 3, 2021. This was an update to the requirement 3.5 and 3.8 in the completeness review requirements.
2021 - Q2 | MN DIP | Utility AC Disconnect (Rack out Breakers) | Engineering | 2021-05-18 | 10 of 92 | Discussion regarding an update to the usage of rack out breakers. The Company will no longer allow rack out breakers. AC disconnect equipment must be used starting on June 1, 2021.
2021 - Q2 | MN DIP | Batch and Cluster Study Offerings and Pilots | Engineering | 2021-05-18 | 10-11 of 92 | Discussion regarding the Company's offerings of both Batch and Cluster studies.
2021 - Q2 | MN DIP | Transmission Affected System Study | Engineering | 2021-05-18 | 11-12 of 92 | Discussion regarding the affected system study inside the MN DIP, where the interconnection of generation onto the distribution is affecting the transmission system and needs to be studied. No major updates from Q1 2021 discussion.
2021 - Q2 | MN DIP | Requests for Modifications (Material Mod.) | Engineering | 2021-05-18 | 12-14 of 92 | Discussion and review of the Request for Modification process.
2021 - Q2 | MN DIP | Engineering Misc. - Thoughts from 50,000 feet | Engineering | 2021-05-18 | 14-15 of 92 | Discussion on topics such as primary/secondary service, overhead, site plans/placement of company owned equipment, cost estimates (Detailed Design, SIS, FS), In service date (ISD).
2021 - Q2 | MN DIP | Supply Chain | Engineering | 2021-05-18 | 15-17 of 92 | Update and discussion regarding supply chain constraints.
2021 - Q2 | MN DIP | Attachment 4 | Engineering | 2021-05-18 | 17 of 92 | Discussion regarding the Company obtaining internal approvals to mirror the Requirements for Commercial Operations to mirror Attachment 4. Both documents will then be sent out as a whole.
2021 - Q2 | MN DIP | Commercial Operations Requirements | Engineering | 2021-05-18 | 17 of 92 | Discussion regarding the Company obtaining internal approvals to mirror the Requirements for Commercial Operations to mirror Attachment 4. Both documents will then be sent out as a whole.
2021 - Q2 | MN DIP | Developer Annual Reports | Regulatory | 2021-05-18 | 18 of 92 | Annual reports are required from all developers and are due on June 1, 2021. A notice to cure would be sent for those that were not provided.
2021 - Q2 | MN DIP | Subscriber Submission | Program: Solar*Rewards Community | 2021-05-18 | 18 of 92 | Discussion regarding resources for subscriber submission, along with two new updates: 1.) Mass upload template; and 2.) Process document that goes along with Mass Upload Template.
2021 - Q2 | MN DIP | Subscriber Maintenance | Program: Solar*Rewards Community | 2021-05-18 | 18-19 of 92 | Discussion regarding the many resources available to both developers and subscribers on the Company’s website (most of the topics are duplicated on the Subscriber facing website).
2021 - Q2 | MN DIP | Subscriber Bill Credits | Program: Solar*Rewards Community | 2021-05-18 | 19-21 of 92 | Discussion regarding bill credits timing, and the Company's update to the billing dates to the 20th of each month, to align bill credits with the Company’s monthly statement.
2021 - Q2 | MN DIP | Residential Adder | Regulatory | 2021-05-18 | 21 of 92 | An adder was created in 2018 to increase residential subscriptions. The adder was implemented in the 2018/2019 Value of Solar (VOS). However, the adder has not yet been extended to 2021. This is currently under review with the Commission, and initial comments are due on June 21, 2021.
2021 - Q2 | MN DIP | Value of Solar (VOS) | Program: Solar*Rewards Community | 2021-05-18 | 21-23 of 92 | Discussion regarding the proposed method to address the request to apply actual PV fleet shapes to the Value of Solar (VOS) analysis and timeline for next steps.
2021 - Q2 | MN DIP | Planned Outages | Program: Solar*Rewards Community | 2021-05-18 | 24-26 of 92 | Discussion regarding tools and resources avaiable for planned outages. | SRCMN Office Hour Planned Outage Notifications (PPT)
2021 - Q2 | MN DIP | Planned Outages | Regulatory | 2021-05-18 | 26 of 92 | Discussion regarding the April 22, 2021 hearing with the Minnesota Public Utilities Commission (MN PUC). Also, the discusion regarding future filings to include updates to the Company's advanced notification initative and mitigation plan for outages specific to hotline work.
2021 - Q1 | MN DIP | Pre-Application Data Reports | Program: Solar*Rewards Community | 2021-02-17 | 5 of 96 | Reminder that pre-application data reports provide only readily available data; it is not an analysis and is not field verified. It does not look at things like overvoltage issues or potential voltage deviations, nor does it provide a guarantee that capacity is available. It is a snapshot in time.
2021 - Q1 | MN DIP | Process Improvements | Program: Solar*Rewards Community | 2021-02-17 | 6-7 of 96 | Discussion regarding various process improvements that are taking place to better the interconnection process: 1.) Additional resources added; 2.) Use of Consultants; 3.) Partially automated Initial/Supplemental Review screens; and 4.) DGWG participation.
2021 - Q1 | MN DIP | Distributed Generation Workgroup (DGWG) | Program: Solar*Rewards Community | 2021-02-17 | 7-12 of 96 | An update on the Distributed Generation Working Group efforts noting that after several subgroup discussions, the final meeting was scheduled for March 19, 2021. Discussion included: 1.) Cluster Studies; 2.) Queue Management – Parallel Studies; 3.) Queue Management – Capacity Limits; 4.) Cost estiamtes in SIS and FS; and 5.) Clarification and reduction of Completeness Review requirements.
2021 - Q1 | MN DIP | Transmission Affected System Study | Engineering | 2021-02-17 | 12 of 96 | Discussion from Xcel Energy's transmission team regarding transmission affected studies.
2021 - Q1 | MN DIP | Foreign Utility Interconnections | Engineering | 2021-02-17 | 12-13 of 96 | Discussion regarding process/working with foreign utilities, and how it is not a simple process. These types of interconnections are not a simple process and will take more time and likely include additional costs.
2021 - Q1 | MN DIP | Design and Construction | Engineering | 2021-02-17 | 13 of 96 | Discussion regarding several updates to the design and construction of CSG projects. These details can be found in Document A.
2021 - Q1 | MN DIP | In Service Date (ISD) | Engineering | 2021-02-17 | 13-14 of 96 | Discussion/reminders regarding In Service Dates (ISDs).
2021 - Q1 | MN DIP | Requests for Modifications (Material Mod.) | Engineering | 2021-02-17 | 14 of 96 | Discission and examples of Material Modifications.
2021 - Q1 | MN DIP | Attachment 4 | Engineering | 2021-02-17 | 14-15 of 96 | Discussion and update that it is currently in review.
2021 - Q1 | MN DIP | Commercial Operations Requirements | Engineering | 2021-02-17 | 14-15 of 96 | Discussion and update that it is currently in review. The communications for this will go out the same time as for Attachment 4.
2021 - Q1 | MN DIP | Residential Adder | Regulatory | 2021-02-17 | 15-18 of 96 | Discussion regarding the residential adder for projects under the 2019 & 2020 VOS. The adder is currently at $.015 per kWh and has not yet been approved to be extended into the 2021 VOS. The Public Utilities Commission could do so later this year. Additional discussions regarding the November 12, 2020 residential adder survey results.
2021 - Q1 | MN DIP | Value of Solar (VOS) | Program: Solar*Rewards Community | 2021-02-17 | 18 of 96 | Discussion regarding the 2021 VOS that was approved by the Commission at $0.01104/kWh. The 2020 rate will remain in effect until the 2021 becomes effective approximately five days after the Public Utilities Commission Order.
2021 - Q1 | MN DIP | Subscriber Bill Credits | Program: Solar*Rewards Community | 2021-02-17 | 18-20 of 96 | Discussion regarding bill credits timing and the Company's progress to changing the subscriber billing date. The Company also addressed stakeholders concerns regarding billing issues.
2021 - Q1 | MN DIP | Marketing Scams | Program: Solar*Rewards Community | 2021-02-17 | 20-21 of 96 | Discussion regarding concerns from customers regarding marketing scams, and door-to-door sales/marketing techniques.
2021 - Q1 | MN DIP | Planned Outages | Regulatory | 2021-02-17 | 21-22 of 96 | Discussion regarding the February 3, 2021 Reply Comments, along with discussing planned outage resources, updates to the Arc Flash analysis, and the Company's November 2, 2020 petition request to add additional pieces of information to the Public Queue. | 2021.02.03 Reply Comments
|  | Planned Outages |  |  |  |  | 2020.11.02 Other - Petition to Publish Certain Information About Applications in the Interconnection Queue
2020 - Q4 | MN DIP | Completeness Reviews | Engineering | 2020-11-17 | 4 of 67 | Discussion on improvements to the Completeness Reviews. The Company has added a new dedicated resource (3rd party consultant) to complete these details, and held an office hour discussion with developers to discuss expectations and what was being looked at during this review process.
2020 - Q4 | MN DIP | Engineering Study Process - Initial/Supplemental Reviews & System Impact Studies (SIS) | Engineering | 2020-11-17 | 4 of 67 | A new resource was added for initial and supplemental review. For system impact studies (SIS) the Company filed a roadmap highlighting data clean-up and automation of modeling build process, tighter tracking and better aligned protection study resources.
2020 - Q4 | MN DIP | Pre-Application Data Reports | Program: Solar*Rewards Community | 2020-11-17 | 4 of 67 | Discussion regarding an update on the pre-application report data. As a reminder, this data only exists with readily available data and is not field verified. The pre-application report does not provide a guarantee that capacity is available; it is a snapshot in time.
2020 - Q4 | MN DIP | On Hold Process for Serial Review | Engineering | 2020-11-17 | 5-6 of 67 | Discussion regarding the Company's proposal to allow eligible applications to proceed with screens in parallel with SIS. Applications would maintain queue position, but ahead in queue are assumed to receive no upgrades, along with Q&A's regarding the "On Hold" process.
2020 - Q4 | MN DIP | Capacity Planning Limits | Engineering | 2020-11-17 | 6-8 of 67 | Discussion regarding the need for capacity planning practices to ensure continued reliable operation of the distribution system while supporting integration of DER, along with examples and Q&A's regarding capacity planning limits.
2020 - Q4 | MN DIP | Requests for Modifications (Material Mod.) | Engineering | 2020-11-17 | 8-9 of 67 | Discission of proposed redlines to MN DIP 1.6 filed on August 5, 2020, to allow for the reduction in size of a project once it has been Deemed Complete. | 2020.08.05 Comments - Updating Generic Standards for Utility Tariffs for Interconnection and Operation of Distributed Generation Facilities
2020 - Q4 | MN DIP | Non Disclosure Agreements (NDAs) for Redacted Studies | Program: Solar*Rewards Community | 2020-11-17 | 9 of 67 | Discussion regading timeframes for redacted studies, along with a reminder that Exhibit A’s must be signed by all parties that will review the redacted studies and that all documents must be destroyed within one year – per the requirements of the NDA.
2020 - Q4 | MN DIP | Cluster Study | Engineering | 2020-11-17 | 9 of 67 | Discussion around the Cluster Study process change proposal along with Q&A discussion from the Company and developers.
2020 - Q4 | MN DIP | System Impact Studies (SIS) | Engineering | 2020-11-17 | 10-12 of 67 | Discussion regarding the differences between phased studies as part of the SIS (Phase I and II).
2020 - Q4 | MN DIP | Hosting Capacity | Engineering | 2020-11-17 | 12 of 67 | Discussion regarding HCA Q&A's along with a potential roadmap to leverage Hosting Capacity Analysis (HCA) within the interconnection process and automate further details. The Hosting Capacity maps were updated on October 27, 2020.
2020 - Q4 | MN DIP | Design and Construction | Engineering | 2020-11-17 | 12 of 67 | Discussion regarding several updates to the design and construction of CSG projects. These details can be found in Document A.
2020 - Q4 | MN DIP | In Service Date (ISD) | Engineering | 2020-11-17 | 12 of 67 | Discussion/reminders regarding In Service Dates (ISDs).
2020 - Q4 | MN DIP | Construction Hold | Engineering | 2020-11-17 | 13 of 67 | Xcel Energy used to remove projects from construction hold 7 months prior to mechanical completion dates. They are now extending those to 12 months prior to the mechanical completion date.
2020 - Q4 | MN DIP | Permission to Operate (PTO) Requirements and Timing | Engineering | 2020-11-17 | 13 of 67 | Discussion regarding the timing of PTO, and the requirement for manufacturer test report OR photo of nameplate on transformer to verify RO XO values will be needed 10 days prior to the acceptance test, along with all other Section 10 and program requirements.
2020 - Q4 | MN DIP | Site Access | Engineering | 2020-11-17 | 13 of 67 | Discussion regarding 24/7 access to site during Minnesota snow. This applies to existing gardens, new gardens and gardens going through Acceptance testing.
2020 - Q4 | MN DIP | Residential Adder | Regulatory | 2020-11-17 | 13-14 of 67 | Discussion regarding survey results that were sent to developers to begin a discussion around the residential adder of $0.015 adder per kWh for residential subscribers under the 2019 & 2020 VOS rates. Additional discussuons regarding feedback on other ways to present residential subscribers outside of the adder.
2020 - Q4 | MN DIP | Planned Outages | Regulatory | 2020-11-17 | 14-15 of 96 | Discssion regarding the Company's compliance filing filed on November 2, 2020, and an update to the Arc Flash Study. Additional discussion regarding the Company's petition filed on November 2, 2020 to extend queue details to include developer name and interconnection costs. | 2020.11.02 Comliance Filing - Planned Outages
| MN DIP | Planned Outages |  |  |  |  | 2020.11.02 Other - Petition to Publish Certain Information About Applications in the Interconnection Queue
2020 - Q4 | MN DIP | Metering | Regulatory | 2020-11-17 | 15 of 96 | Pricing: As a reminder, Xcel Energy filed to align meter pricing with the MN DIP. Metering will move to a monthly or prepay amount once the Commission approves.
2020 - Q3 | MN DIP | COVID-19 Force Majeure Extension | Regulatory | 2020-07-29 | 4 of 99 | Discussion regarding a Force Majeure Extension provided to developers.
2020 - Q3 | MN DIP | Interconnection Process Training | Regulatory | 2020-07-29 | 4-5 of 99 | Discussion regarding poll results to questions asked by the Company, regarding future trainings and hosting additional office hours for the MN DIP process training.
2020 - Q3 | MN DIP | Q3 2020 Compliance Report | Regulatory | 2020-07-29 | 5-6 of 99 | The Company filed their Q3 Report and had a poll to determine how this is being used by stakholders. The Q3 Report addressed Serial Review. | 2020.07.22 Compliance Filing - 3rd Qtr. 2020
2020 - Q3 | MN DIP | Public DER Queue | Program: Solar*Rewards Community | 2020-07-29 | 6 of 99 | Active status was to the Queue Report for CSGs.The Company will also be adding additional information in the future to define process to get an educated idea of how long projects will take based on serial review. The Company will also file a petition with PUC regarding an adjustment to the queue to release further information. | 2020.11.02 Other - Petition to Publish Certain Information About Applications in the Interconnection Queue
2020 - Q3 | MN DIP | Cluster Study | Engineering | 2020-07-29 | 6 of 99 | Cluster Studies are now available as an option for multi-developer cluster studies. These studies must be addressed outside of Xcel Energy (initiated).
2020 - Q3 | MN DIP | Planned Outages | Regulatory | 2020-07-29 | 7 of 99 | Discussion regarding the updated Everbridge Notification System. The Company began a soft launch of the system on July 20, 2020. Additionally, the Company recapped the meeting held on July 14th that included advanced notices, mitigation via cluster studies, and further discussion on mitigation.
2020 - Q3 | MN DIP | Updates and Reminders (TIIR, Fee Payments, Legacy Portal, E911 Documentation & PTO Grant Dates) | Program: Solar*Rewards Community | 2020-07-29 | 7 of 99 | Discussion regarding several updates and reminders that consisted of topics such as: 1) Minnesota Technical Interconnection and Interoperability Requirements (TIIR), 2) All fees (except for IA payments) should now be made through e-Payments, 3) Legacy portal, 4) E911 Documentation show assignment of address from AHJ, and 5) PTO granted on date all requirements are met (not always on the date of test).
2020 - Q3 | MN DIP | Interconnection Agreement (IA) True-Up | Engineering | 2020-07-29 | 8 of 99 | The pre-MN DIP program goal was approximately 120 days. For MN DIP projects the requirement is 80 business days. This process takes many groups at the Company to complete and approve.
2020 - Q3 | MN DIP | Minnesota Distributed Energy Resources Interconnection Process (MN DIP) | Regulatory | 2020-07-29 | 8 of 99 | Discussion regarding an overview of the MNDIP process in place, along with making note of a comment period that would be include several topics for consideration including: 1) Queue Position; 2) Cluster Studies; and 3) Serial Review.
2020 - Q3 | MN DIP | Metering | Regulatory | 2020-07-29 | 8 of 99 | Charges: Discussion regarding Docket 20-606 which adjusts the metering charges for CSGs based on MNDIP Requirements. The total dollar amount has not altered for CSGs but now developers will be able to pre-pay, as they are now, or provide metering through a monthly fee. | 2020.07.17 - Initial Filing - Meter Pricing Services Petition
2020 - Q3 | MN DIP | Minnesota Distributed Energy Resources Interconnection Process (MN DIP) Dispute Resolution Process | Regulatory | 2020-07-29 | 8 of 99 | Discussion regarding the dispute process as part of the MN DIP to clarify the process change. Further, they addressed the approval of the Hold Amendment as part of pre-MN DIP projects and filed June 25, 2020 for comment.
2020 - Q3 | MN DIP | Annual Participation Fee Amendment | Regulatory | 2020-07-29 | 9 of 99 | Review of a possible amendment for the annual participation fee for CSGs less than 40 kW.
2020 - Q3 | MN DIP | Developer Annual Reports | Regulatory | 2020-07-29 | 9 of 99 | Annual reports are required from all developers and were due on June 1, 2020. A notice to cure would be sent for those that were not provided.
2020 - Q3 | MN DIP | In Service Date (ISD) | Engineering | 2020-07-29 | 9 of 99 | Discussion/reminders regarding In Service Dates (ISDs).
2020 - Q3 | MN DIP | Pre-Application Data Reports | Program: Solar*Rewards Community | 2020-07-29 | 10 of 99 | Discussion regarding the pre-application reports, and how they include existing, readily available data. These are informational only and does not guarantee anything to the applicant. These pre-applications do not guarantee capacity and a formal interconnection application and study is required to determine interconnection feasibility.
2020 - Q3 | MN DIP | Serial Review | Engineering | 2020-07-29 | 10 of 99 | Discussion and Q&A's regarding the serial review process.
2020 - Q3 | MN DIP | Capacity Planning Limits | Engineering | 2020-07-29 | 11 of 99 | Discussion regarding the Company considering limiting DER capacity by feeder to align with load planning limits and future onsite solar. Additionally, there was a discussion regarding feeders/substations at or nearing capacity and different types of notices.
2020 - Q3 | MN DIP | System Impact Studies (SIS) | Engineering | 2020-07-29 | 13-13 of 99 | Discussion regarding SIS and causes of potential delays.
2020 - Q3 | MN DIP | Value of Solar (VOS) | Program: Solar*Rewards Community | 2020-07-29 | 13 of 99 | Discussion and Q&A regarding the preliminary analysis of the 2021 VOS Rate.
2020 - Q2 | MN DIP | COVID-19 Peacetime Emergency | All | 2020-05-19 | 4-5 of 157 | Discussion regarding the COVID-19 global health pandemic, and reviewing force majeure requests on a per project basis for extension of the 24 month Mechanical Completion deadline.
2020 - Q2 | MN DIP | On Hold Process | Program: Solar*Rewards Community | 2020-05-19 | 5 of 157 | Discussion regarding the Company extending the ability for an application to go On Hold during the Design and Construction phase from pre-MN DIP to MN DIP projects.
2020 - Q2 | MN DIP | Late Fee Amendment | Program: Solar*Rewards Community | 2020-05-19 | 5 of 157 | Any late fees are based on the Mechanical Completion date as noted in tariff. If developers are following MN DIP; there is no need to complete the Late Fee amendment.
2020 - Q2 | MN DIP | In Service Date (ISD) | Engineering | 2020-05-19 | 5 of 157 | Discussion regarding the differences between Mechanical Completion and In Service Dates.
2020 - Q2 | MN DIP | Permission to Operate (PTO) Requirements and Timing | Engineering | 2020-05-19 | 6 of 157 | Discussion regarding the timing of PTO and requirements.
2020 - Q2 | MN DIP | Public DER Queue | Program: Solar*Rewards Community | 2020-05-19 | 6 of 157 | Discussion regarding the Company adjusting the Public DER queue to include gardens that are active, per request from stakeholders.
2020 - Q2 | MN DIP | Community Solar Gardens with Same Names | Program: Solar*Rewards Community | 2020-05-19 | 6 of 157 | The Company reminded developers that gardens with the same names will not be approved as it causes confusion.
2020 - Q2 | MN DIP | Cluster Study | Engineering | 2020-05-19 | 7 of 157 | The Company reminded developers to request these during the Program Approval/Draft.
2020 - Q2 | MN DIP | E-Payments | Program: Solar*Rewards Community | 2020-05-19 | 7-8 of 157 | Discussion regarding once a payment is made it will be marked as received in the system and automatically moved forward in our process. The only payment that must still be made via wire is for the indicative cost estimate as listed in the IA or MNDIA – all other payments should be submitted via ePay.
2020 - Q2 | MN DIP | Pre-Application Data Reports | Program: Solar*Rewards Community | 2020-05-19 | 7 of 157 | Discussion regarding that pre-application reports do not guarantee capacity to accommodate the DER. This is consistent with the cautionary wording on MN DIP Attachment 1 (The Pre-Application Report Request Form) just above the requestor’s signature line.
2020 - Q2 | MN DIP | System Impact Studies (SIS) | Engineering | 2020-05-19 | 7-8 of 157 | Discussion regarding SIS and Phase II System Impact Study.
2020 - Q2 | MN DIP | Facilities Study (FS) | Engineering | 2020-05-19 | 8-9 of 157 | Discussion regarding the Company fine-tuning the MN DIP Facilities Study.Tier I is distribution upgrades with no system impacts and Tier II and III go into more substation work. As there is a lot of DER in one area, the interconnection will become more difficult and the analysis will become more expensive.
2020 - Q2 | MN DIP | In Service Date (ISD) | Engineering | 2020-05-19 | 9-10 of 157 | Discussion/reminders regarding In Service Dates (ISDs). 2020 ISD are starting to be limited this year, so make sure to keep an eye on these.
2020 - Q2 | MN DIP | Single-Phase Testing | Engineering | 2020-05-19 | 10 of 157 | Bills have been sent and gentle reminders have also been sent. If these are not paid, the Company will move to disconnect gardens for non-payment. This is only on legacy testing; for other projects and tests the fees differ by type and time we are at the site.
2020 - Q2 | MN DIP | Metering | Engineering | 2020-05-19 | 10 of 157 | Procurement Changes: Outstanding items were communicated by the Program Management Office (designer cc’d) and official emails will be sent at time of procurement.
2020 - Q2 | MN DIP | Value of Solar (VOS) | Program: Solar*Rewards Community | 2020-05-19 | 10-11 of 157 | Discussion regarding the 2020 VOS Vintage Year Rate became effective for applications Deemed Complete from March 9, 2020 until the 2021 VOS Vintage rate is in the tariff. Additionally, discussing the Department of Commerce’s efforts to continue discussions regarding locational value – which have now been delayed.
2020 - Q2 | MN DIP | Developer Annual Reports | Regulatory | 2020-05-19 | 11 of 157 | Annual reports are required from all developers to their subscribers on a yearly basis. These were originally due to Xcel Energy on March 31, 2020 but have extended to June 1, 2020.
2020 - Q2 | MN DIP | Dispute and Mediation Process | Regulatory | 2020-05-19 | 11-12 of 157 | Discussions regarding the dispute and mediation process.
2020 - Q2 | MN DIP | Annual Participation Fee | Regulatory | 2020-05-19 | 12 of 157 | Discussion regarding the annual participation fee. $500 per year per SRC. Projects (under 40 kW) to pay the original $300 fee. The amendment is for a period of five years, so that these can be reviewed again after that time.
2020 - Q1 | MN DIP | Planned Outages | Regulatory | 2020-05-19 | 12-13 of 157 | Discussion regarding the Company's notification process.
2020 - Q1 | MN DIP | Application Portal | Program: Solar*Rewards Community | 2020-01-27 | 3 of 56 | The Company noted that all new projects are going through the updated MN DIP interconnection process and the new portal in our SalesForce portal (released on December 9, 2019). There are currently over 19,000 subscriptions and over 600 MW of solar community gardens.
2020 - Q1 | MN DIP | Program Updates | Program: Solar*Rewards Community | 2020-01-27 | 3 of 56 | Discussion regarding program updates such as 1.) New Portal; 2.) New Amendment: If the deadline for a study has been adjusted due to long restudy queues (pre-MN DIP) – the amendment for extending the mechanical completion end dates is now available on xcelenergy.com 3.) Escrow: New Escrow agreements are available that references the case number and not the SRC number; 4.) New PAM Change form: Be on the lookout for a new PAM change form coming soon from Xcel Energy.
2020 - Q1 | MN DIP | Permission to Operate (PTO) Requirements and Timing | Engineering | 2020-01-27 | 4-5 of 56 | All Section 10 items are in the tariff and website: MRETs Registration is required and we are looking for addresses to match – some are old and need to be updated so that it is correct and consistent across the applications. There is a billing and mailing change request form – this is to complete the interconnection process so that they refund/billing is going to the correct address – it is critical to having this right. Late fees are separate.
2020 - Q1 | MN DIP | Subscriber Bill Credits | Program: Solar*Rewards Community | 2020-01-27 | 4 of 56 | Discussion regarding bill credit timelines, bill credit posting dates, excess bill credits and resources available. The Comapny requested that developers do not insinuate they are “with” Xcel Energy and if you have questions on renewable energy claims, we have some information on the Company's website to help in those conversations.
2020 - Q1 | MN DIP | Planned Outages | Regulatory | 2020-01-27 | 4-6 of 56 | Discussion regarding future outage communications and reporting details. The Company further noted that two additional sub-workgroups have already occurred regarding this topic. The Company also discussed additional mitigation options.
2020 - Q1 | MN DIP | Data Privacy | Regulatory | 2020-01-27 | 6-7 of 56 | The Company provided tariff language for discussion to adjust for data privacy.Developers thought that these rules were determined by Xcel Energy; however, the privacy details were developed by the working group and largely dictated by the solar community around concerns of privacy.
2020 - Q1 | MN DIP | Value of Solar (VOS) | Program: Solar*Rewards Community | 2020-01-27 | 7 of 56 | The Public Utilities Commission is holding a hearing on Thursday, Jan. 23. The 2020 rate will be effective the day the compliance tariff is approved (within 5 business days of the written order). Further notification will be provided to developers when this rate is available; until that time all new projects receive the 2019 VOS rate. The 2021 VOS will continue to be discussed beginning with locational values, through an stakeholder meeting conducted by the Department of Commerce.
2020 - Q1 | MN DIP | Pre-Application Data Reports | Program: Solar*Rewards Community | 2020-01-27 | 7 of 56 | The Company noted that this report includes information on an engineer’s desktop (confidential data of Xcel Energy). It does not guarantee capacity, as it is only a snapshot of time.
2020 - Q1 | MN DIP | No Upgrade Required Threshold | Engineering | 2020-01-27 | 8 of 56 | The Company noted that we would go to 10 percent of requested capacity for no upgrade requirements. Discussions by MnSEIA created a 30 percent requested capacity requirement that is equal or greater that we stop the analysis or study and send a no capacity notice.
2020 - Q1 | MN DIP | Batch and Cluster Study Offerings and Pilots | Engineering | 2020-01-27 | 8 of 56 | The Company is trying to study projects together now on the same feeder – specifically if they are by one developer. This will save time over the long run. They can then limit the timeframe for the group of projects. The Company assumes everyone is going to go forward with the design and study analysis. If they go with separate developers the developers involved will all have to decide to move forward – if one developer does not move forward than we have to restudy it again. There is concern with a snowball effect of disagreement between developers.
2020 - Q1 | MN DIP | Reclosures | Engineering | 2020-01-27 | 8-9 of 56 | The Company is going to start installing reclosers with remote controls. This will facilitate faster switching (reduces outage time) because they can be remove access rather than sending field crew. It also provides some additional OV production and provides future operational flexibility.
2020 - Q1 | MN DIP | Site Plans | Engineering | 2020-01-27 | 9 of 56 | Xcel Energy does not have a good solution for notifying when a site plan has been approved for active applications. However, there is a notification is approved in the process as part of the MN DIP (after December 9) on the new notification.
2020 - Q1 | MN DIP | In Service Date (ISD) | Engineering | 2020-01-27 | 9-10 of 56 | In-Service Date means both the Company and Developer are striving to meet this date to energize and move forward. It is not the same as Mechanical Completion. It is also not an energization/testing date – these are separate. Developers still need to work with the designers and other teams to schedule these dates. Developers need to manage your projects – the Company has provided details and timelines, but developers know how best to manage their projects within these requirements. Mechanical Complete is a tariffed requirement which is a separate thing – it is separate than the ISD that you negated with your designer. Additionally, the Company cannot get in the middle of a developer's financing. Xcel Energy will not provide special treatment and when the ISD dates are gone, there is not much else they can do. Fair, transparent, and consistent for all projects. If you have a project that you depend upon another project you may want to be careful because the line conductoring may not be ready for you to go online – for example.
2020 - Q1 | MN DIP | Data Management | Engineering | 2020-01-27 | 9-10 of 56 | Discussion regarding the data/information/documents needed prior to In Service Dates (ISDs).
2020 - Q1 | MN DIP | Energization and Acceptance Testing | Engineering | 2020-01-27 | 10 of 56 | Inclement weather causes reschedules within 2 weeks. Single Phase testing (legacy) – this has been completed but there are several final bills that remain unpaid. Xcel Energy paid for the first test, but the remaining tests were not. If developers have questions on billing please contact the program office.
2020 - Q1 | MN DIP | Site Access | Engineering | 2020-01-27 | 11 of 56 | 24/7 Access during Minnesota Snow: As noted in Section 9 tariff, Sheet 67.3 - the Company must have site access for emergencies, safety, communications. If there is no communications, Xcel Energy cannot post bill credits. This includes plowing – Xcel Energy needs to have access.
2020 - Q1 | MN DIP | Program Reminders | Program: Solar*Rewards Community | 2020-01-27 | 11 of 56 | Discussion regarding resources available on the Company's webpage for commercial operations, witness testing, etc.
2020 - Q1 | MN DIP | Subscribers - Residential EV Vehicles | Program: Solar*Rewards Community | 2020-01-27 | 11 of 56 | When Xcel Energy increased the kWh load for subscribers who received EV vehicles – that is great. The rules state the vehicle has to be purchased within the past four months and then the 250 kWh additional per month is applied. Since that was introduced, Xcel Energy sent an updated FAQ for subscribers and sent things differently –the language is that Xcel Energy will not add this extra 250 kWh per month to existing customers – only for people without four months usage. No one will apply to this and it does not seem to meet the need anymore.
2019 - Q4 | MN DIP | E911 Address Requirements | Program: Solar*Rewards Community | 2019-11-07 | 4 of 84 | Discussion regarding E911 address requirements.
2019 - Q4 | MN DIP | Billing Contact Information | Program: Solar*Rewards Community | 2019-11-07 | 4 of 84 | The Company requested developers work with SRCMN to verify the entity listed and the postal address in our billing system, 10 days prior to energization. Xcel Energy wants checks/invoices to go to the right place upon final true-up. Developers will still work with the Business Solutions Center to make any updates.
2019 - Q4 | MN DIP | Site Control | Program: Solar*Rewards Community | 2019-11-07 | 4 of 84 | Proof of Site Control is a state wide requirement. Xcel Energy is looking to verify two key components, in order to tie a developers proof of control over the site to the application. 1. Entity that has control of site needs to match the entity (LLC) on the application. Developers can submit an Assignment of a Lease if needed. 2. Location that developers have control over needs to match the location of the application– GPS Coordinates (Decimal Degrees-DD, not Degrees/Minutes/Seconds-DMS) & anexhibit with a Map/Diagram showing location that compares to site plan can help expedite review.
2019 - Q4 | MN DIP | Midwest Renewable Energy Tracking System (MRETS) & Energy Information Administration Number (EIA#) | Program: Solar*Rewards Community | 2019-11-07 | 4 of 84 | Garden Operators must register with EIA if 1MW or greater, per federal law, and will receive 5-digit EIA code within a week. Xcel Energy registers all Gardens with MRETS. Garden Operator must submit MRETS Schedule A & MRETS Registration Template to Xcel Energy, both with the EIA code included.
2019 - Q4 | MN DIP | Late Fee Amendment | Program: Solar*Rewards Community | 2019-11-07 | 4-5 of 84 | What to expect: When developers submit an Amendment for Extension to Mechanical Completion Date, and achieve Mechanical Completion late, they will receive a separate Late Fee invoice from SRCMN and a separate Final Interconnection invoice or check from Xcel Energy. (Amendments give ability to combine these but currently will not).
2019 - Q4 | MN DIP | Application Portal | Program: Solar*Rewards Community | 2019-11-07 | 5 of 84 | Release #2 will happen early December 2019, and will look a lot different from portal currently used. All new projects will go through the new portal. Things to look forward to include: Esignatures, E-payments, and automated approval processes for insurance, testing procedures, as built engineering documents. Xcel Energy will provide additional training closer to the release date.
2019 - Q4 | MN DIP | Billing Issues | Program: Solar*Rewards Community | 2019-11-07 | 5-8 of 84 | Discussion regarding questions recently received from Garden Operators about not seeing the Monthly Owners Report (MOR) populate, some are concerned bill credits are delayed. These are two potential issues: 1.) Delay in Bill Credits, and 2.) Delay in MOR – which are not always related. The following can cause bill credit delays: 1.) Backdating PTO can cause a delay; 2.) Meter communications; 3.) Subscriber Enrollment Changes; 4.) Transferring data to MOR.
2019 - Q4 | MN DIP | Subscriber Bill Credits | Program: Solar*Rewards Community | 2019-11-07 | 8 of 84 | Starting March 1, 2020 Subscriber Billing Dates will change to the 20th of each month. (This will likely be May 1st 2020).When a subscriber has bill credits that exceed their monthly bill, they roll over to cover expenses the next month. If they continue to roll over and accumulate, they are bought by Xcel Energy and paid out once a year. If subscribers have questions the link to the customer facing webpage.
2019 - Q4 | MN DIP | Subscribers | Program: Solar*Rewards Community | 2019-11-07 | 8-9 of 84 | Door to Door Sales – the Company receives calls from different people, community groups, police, and customers. Please work with your direct sales/marketing so they are clearly representing who they are with and their role in this program. If customers call us and say ‘are you going door to door’ we have to say no and it could possibly be legitimate, but it’s not Xcel Energy and instead potentially someone on behalf of the program itself.
2019 - Q4 | MN DIP | Renewable Energy Credit (REC) Claims | Program: Solar*Rewards Community | 2019-11-07 | 9 of 84 | Many customers make claims about their solar subscription – Xcel Energy has put together an easy to use resource to help people understand more about Renewable Energy Certificates (RECs), how they work with the SRC program and a guide on what customers can claim about subscriptions.
2019 - Q4 | MN DIP | Hosting Capacity | Engineering | 2019-11-07 | 9 of 84 | There is an exhaustive record in place through a MPUC proceeding on this. The new hosting capacity map went live this month. It contains more information than the previous version. Garden Operator feedback was very positive.
2019 - Q4 | MN DIP | Pre-Application Data Reports | Program: Solar*Rewards Community | 2019-11-07 | 9-10 of 84 | Data in pre-applications is existing and readily available, as part of MNDIP that means: desktop data. The Company cannot send an engineer out into the field for every application, therefore we provide what is readily available that can be shared. It remains for information only. The preapplication data does not provide a guarantee of capacity; the data is a snapshot and is not going to reflect queue activity after the pre-application report is sent.
2019 - Q4 | MN DIP | Study Processes and Deadlines | Engineering | 2019-11-07 | 10-14 of 84 | Discussion regarding the study processes and deadlines. The Company identifed four (4) ideas to speed up and accommodate for timelines: 1.) Cluster Study Pilot, 2.) No Upgrades Required, 3.) Restudies - Extensions, and 4.) Requesting Site Shift (Pre-MN DIP).
2019 - Q4 | MN DIP | Cluster Study | Engineering | 2019-11-07 | 11-12 of 84 | Cluster studies could enable results for deep queues in a more reasonable timeline. If there’s a single developer with multiple in queue, (4, 5, 6,) at the same feeder and substation, cluster would allow the developer to spread the high upgrade cost across multiple projects while enabling them to get them done economically. Xcel Energy has revamped cluster proposal since Q3, to make it more accessible for developers. Xcel Energy is calling it the “Hybrid” Cluster, with hybrid pricing. This solution was intended for Pre MNDIP projects. MNDIP will address clusters.
2019 - Q4 | MN DIP | No Upgrade Required Threshold | Engineering | 2019-11-07 | 12 of 84 | What is the value is of the curtailed amount that Xcel Energy provides in the studies to developers? The values are next to nothing, Xcel Energy has internally decided on less than 10%, that they do not go through added effort to go into the cost for that. What size should that be according to developers? Some developers said 50%, others thought that was high. Xcel wanted everyone to consider and revisit. The Company is asking for input but not necessarily saying the decision is in the developer's hands. We still have timelines to meet and will need to make an executive decision. After the Q3 meeting we have been using 10% as the threshold.
2019 - Q4 | MN DIP | Restudies | Engineering | 2019-11-07 | 12-13 of 84 | Xcel Energy is proposing to file an Amendment to Standard Contract for Solar*Rewards Community regarding extending mechanical completion deadline for an application later in queue, that would cater to projects for example whose Mechanical Completion due date is in 2021, but the restudy is not due until 2022. Xcel Energy is open for feedback before filing. As for timing, this particular Amendment has not been filed yet, and once it has been there is a 30 day period for comments. We are trying to get ahead of this to address, since the situation it is out of everyone’s hands with these deep queues.
2019 - Q4 | MN DIP | Requesting Site Shift (Pre-MN DIP) | Engineering | 2019-11-07 | 13-14 of 84 | Discussion regarding rules and new rules, as the Company has seen a lot of site shifting once a garden is in Design/Construction phase.
2019 - Q4 | MN DIP | In Service Date (ISD) | Engineering | 2019-11-07 | 14-15 of 84 | Discussion/reminders regarding In Service Dates (ISDs).
2019 - Q4 | MN DIP | Requirements for Commercial Operation | Engineering | 2019-11-07 | 15-16 of 84 | Where you can find this on the Website, linked to all our email signatures, go to Step 5. Xcel Energy provides the table document so you are aware of details as you go through the process. Guideline for Large PV Acceptance/Witness Testing - Same as Above.
2019 - Q4 | MN DIP | Planned Outages | Regulatory | 2019-11-07 | 16-17 of 84 | Discussion regarding the types of outages or disconnections (generation issues, emergency outages, planned outages), along with reporting efforts. The Company also discussed hotline work safety, along with mitigations. The Company also made note that CSG work – a lot of the planned outages – only do CSG construction in off-peak production seasons. Xcel Energy can do construction during the winter months so sites do not go offline during the key production months. About ½ the time is because they are adding another garden. Lastly, the Company discussed why outages are hard to report on.
2019 - Q4 | MN DIP | Signle Meter Billing Impact | Regulatory | 2019-11-07 | 17 of 84 | Previously the group decided to go with a single meter configuration. Reminder: there are billing implications to the single meter change. Tariff changes to align tariff with the Amendment and the Standard Contract were handed out at the meeting.
2019 - Q4 | MN DIP | Digitizing Consent Forms | Regulatory | 2019-11-07 | 17 of 84 | Digitizing: look into digitizing subscriber forms; they currently use the SAA tariff form which requires PUC approval. Easier ways developers can get subscribers usage information using the My Account option. Can provide developer name as approved 3rd party in My Account. Can reach out to SRCMN with questions. Does this help meet the concern? Usage data is in My Account with the last 12 months. This removes the need for data consent form.
2019 - Q4 | MN DIP | Extending 25 Year Life History | Regulatory | 2019-11-07 | 17 of 84 | The Company considers this to be high price solar, extending beyond the 25 year does not seem prudent. Xcel Energy would be extending the timeline that they pay over and above what they can get the solar from other resources.
2019 - Q3 | MN DIP | Dashboard | Program: Solar*Rewards Community | 2019-08-07 | 3-4 of 55 | The Company provided an update regarding the status (as of August 2019) of the Solar*Rewards Community program.
2019 - Q3 | MN DIP | Program Reminders | Program: Solar*Rewards Community | 2019-08-07 | 4 of 55 | The Company provided reminders such as 1.) it is critical to have the Primary Application Manager (PAM) updated in salesforce at all times; all official program notifications are directed to the listed PAM; 2.) Xcel Energy understands that the 911-service address may not be available when an application begins; however, it is required to provide supporting documentation of the assigned 911 address from the city/county as these details are critical to locate the garden in an emergency, and are used on all final, legal paperwork such as the IA and SRC Contract; and 3.) Xcel Energy requested that if the system details are changing to make sure to route these requests to SRCMN@xcelenergy.com. If approved, Xcel will update the yearly estimated energy production, as thiswill affect subscription allocations.
2019 - Q3 | MN DIP | Pre-Application Data Reports | Program: Solar*Rewards Community | 2019-08-07 | 4-5 of 55 | There is a new Pre-Application Report Request Form available now that the MN DIP has taken effect. The fee has increased to $300 as per the MN DIP. In addition, there is a website for how to “interconnect” systems with Xcel Energy. This was revamped for MN DIP, to provide technical resources for all interconnections.
2019 - Q3 | MN DIP | Program Deposit | Program: Solar*Rewards Community | 2019-08-07 | 5 of 55 | Program Deposits (not interconnection deposits) can now be released after the IA has been fully executed and funded. This was a change made to our tariff language on May 9, 2019 affecting all projects.
2019 - Q3 | MN DIP | Planned Outages | Regulatory | 2019-08-07 | 5-6 of 55 | Discussion regarding planned outages. The Company noted that it is the Garden Operator’s responsibility to be aware that outages can and will happen. Xcel Energy has updated their process so that the 24/7 contact will now be contacted (as noted in Salesforce) for all planned outages. If there is a secondary contact a Garden Operator would like to include, Xcel Energy can add up to one additional contact. Xcel Energy continues to work to evolve these processes. It is the Garden Operators responsibility to ensure this contact information is up-todate at all times. They can make adjustments themselves, within the portal, for each SRC.
2019 - Q3 | MN DIP | In Service Date (ISD) | Engineering | 2019-08-07 | 6 of 55 | Discussion/reminders regarding In Service Dates (ISDs). Several things can affect the ISDs such as restudies, projects dropping out, scope changes, etc. Xcel Energy is seeing some trends with developers – the ISD means that both Xcel Energy AND the developer will complete by a particular date. If the site has made no progress eight weeks prior to the ISD, Xcel Energy may move the ISD to allow the other parties to gain energization and acceptance. If you need to reset the ISD, please reach out to SRCMN@xcelenergy.com and your designer. Remembers: six weeks prior to ISD, that insurance and testing procedures should be submitted and working towards approval. The 10-day requirement prior to energization requires all Section 10 requirements and electrical inspections to be completed. Since starting this process, Xcel Energy has seen a higher than anticipated success rate. The requirement itself has significantly helped move projects forward.
2019 - Q3 | MN DIP | Metering | Engineering | 2019-08-07 | 7 of 55 | Metering procurement occurs 20-weeks prior to the ISD. Xcel Energy is currently reviewing sites with March ISDs. The most common miss is cutsheets that do not show spacing between phases. Xcel Energy will reach out if something is missing, if there is significant lag in a response Xcel Energy will move the ISD to accommodate procurement. If you do not hear anything from Xcel Energy and you are within the 20-week procurement milestone, there are no concerns.
2019 - Q3 | MN DIP | Safety: Stop Work | Engineering | 2019-08-07 | 7 of 55 | Xcel Energy crews will stop work if there is ever situation where there is a safety concern and developers understanding and support in maintaining a culture of safety is appreciated.
2019 - Q3 | MN DIP | Hosting Capacity | Engineering | 2019-08-07 | 7 of 55 | Xcel Energy’s capacity screens can only include data that is existing at the time the capacity screen is completed, and is readily available data that utility has access to. The MN DIP workgroup clarified that “access to data” means desktop data, not going into the field on each project. The capacity screen does not guarantee capacity, nor a spot in the interconnection queue.
2019 - Q3 | MN DIP | No Capacity Notice Updates - Pre-MN DIP Projects | Engineering | 2019-08-07 | 7-8 of 55 | Xcel Energy will no longer provide “No Capacity” notices for complex 1 MW community solar gardens, when Xcel Energy has the ability to instead provide the costs via an SOW for additional specialized engineering studies needed to determine the complex scope of work for creating a design estimates for interconnection. Additional study, design and construction timelines will apply. Customer service to those customers at the feeder/substation will need to be maintained continually at cost to the party requesting the upgrade. Xcel Energy will keep service to customers and the interconnection party must pay for these types of projects. This is a go forward process for pre-MN DIP projects. Those projects under MN DIP will work a bit differently as there are processes in place for a touchpoint to discuss this within the interconnection process itself.
2019 - Q3 | MN DIP | Restudies | Engineering | 2019-08-07 | 8-9 of 55 | Discussion regarding restudies/deadlines, along with contraints and issues that the Company has experienced.
2019 - Q3 | MN DIP | Cluster Study | Engineering | 2019-08-07 | 8 of 55 | MN DIP allows these types of studies and Xcel Energy is looking at piloting these with same developer, same substation and feeder and a go/no-go based on study results. The intent is to take multiple projects (study together) and move those forward. This may help move some of the older studies forward to help queues move faster. There are challenges to going to this process for additional studies with differing developers.
2019 - Q3 | MN DIP | No Upgrade Required Threshold | Engineering | 2019-08-07 | 9 of 55 | Another option Xcel Energy has started, in efforts to move projects forward, is that Xcel Energy will include curtailed/No Upgrade options in the IA with no less than 10 percent of the capacity originally applied for. For example, if no upgrade option is less than 10% of requested capacity, Xcel Energy does not fully scope and call out that option. Therefore in a 1 MW project and 75 kW is available without upgrades, they can just say that ‘less than 10% is available without upgrades’ rather than spend additional time further analyzing to find the exact value. Xcel Energy asked for feedback on whether 10% is a good threshold. Xcel Energy could increase this threshold if desired, in efforts to further speed up study timelines. Developers suggest 50% rather than 10%. Another way to look at it is a specific CSG size versus percentage.
2019 - Q3 | MN DIP | Application Portal | Program: Solar*Rewards Community | 2019-08-07 | 9 of 55 | Xcel Energy is going through a couple of different phases of Salesforce changes. The first phase is complete. Now, the portal looks the same as it always has upon application. The middle stages (Completeness Reviews through engineering studies) that follow MN DIP processes will utilize the MN DIP widget, found at the top of each SRC page. Once this is complete, you resume the process you are used to.
2019 - Q3 | MN DIP | Section 9 Tariff Changes | Regulatory | 2019-08-07 | 10 of 55 | Xcel Energy provided an update on changes to the Section 9 tariff affecting current projects. The Standard Contract now includes the single meter and annual reporting requirements, eliminating the need for these amendments moving forward. In addition, Xcel has incorporated the 6-month extension for MN DIP projects.
2019 - Q3 | MN DIP | Amendments | Program: Solar*Rewards Community | 2019-08-07 | 10 of 55 | Amendments that will still be required include the late fee amendment for pre-MNDIP projects, and the insurance amendment for co-located gardens.
2019 - Q3 | MN DIP | Developer Annual Reports | Regulatory | 2019-08-07 | 10 of 55 | Xcel Energy noted that there were several annual reports that were not yet provided. They noted this is a breach in the Standard Contract. Those developers, who have yet to send them in, will be notified accordingly.
2019 - Q3 | MN DIP | Co-Location Appeal | Regulatory | 2019-08-07 | 10 of 55 | Xcel Energy did submit a co-location appeal in Docket No. E002/M-13-867 and additional comments were ongoing.
2019 - Q3 | MN DIP | CSG Developer Workgroup | Regulatory | 2019-08-07 | 10 of 55 | The Workgroup discussed Comments from the CSG Developers back in February 8 and addressed at the Commission over the summer. As part of the discussion, it was determined that the group was going to consider additional thoughts around these comments and discuss further in our next workgroup meeting.
2019 - Q2 | Pre-MN DIP | Dashboard | Program: Solar*Rewards Community | 2019-05-23 | 4 of 67 | The Company provided an update regarding the status (as of May 2019) of the Solar*Rewards Community program.
2019 - Q2 | Pre-MN DIP | 911 Service Address | Program: Solar*Rewards Community | 2019-05-23 | 4 of 67 | Xcel Energy noted that after a developer has completed the Interconnection Agreement (IA), any changes to the service address will need to be completed by the use of an amendment to the IA. This amendment will be added to the website shortly – in the meantime send a note to SRCMN@xcelenergy.com if a change is needed.
2019 - Q2 | Pre-MN DIP | Hosting Capacity | Engineering | 2019-05-23 | 4 of 67 | Xcel Energy clarified that engineering data for capacity screens are completed at a substation and feeder at one point in time – it is not a study nor does it guarantee any specific amount of load.
2019 - Q2 | Pre-MN DIP | EV Allowance | Program: Solar*Rewards Community | 2019-05-23 | 5 of 67 | Xcel Energy has updated their policies to allow 250 kWh per month to be added to existing customer load (for purposes of the 120 percent allocation verification process) to allow subscribers to account for new electric vehicles. The following rules must also apply: • The EV must be purchased within the last four months. • Subscribers must provide Xcel Energy with vehicle registration (proof of purchase) and date of purchase.
2019 - Q2 | Pre-MN DIP | Non Disclosure Agreements (NDAs) | Program: Solar*Rewards Community | 2019-05-23 | 5 of 67 | Xcel Energy re-emphasized that NDAs are used to allow us to provide the trade secret versions (subject to additional redactions) of our engineering studies. The engineering studies that are provided under the NDAs need to be destroyed by the Requesting Party, including all electric copies within one year from the Effective Date of the NDA. Any email copies must be encrypted and only sent to an authorized party (authorized by the NDA agreement). Parties breaching the NDA agreements will be limited to on-site review of studies.
2019 - Q2 | Pre-MN DIP | Amendments | Program: Solar*Rewards Community | 2019-05-23 | 5 of 67 | Discussion regarding the 6-12 month extension to Mechanical Completion. Xcel Energy has now provided a new supplemental amendment for the extension of the 24-month requirements extension that lies on top of the current 24-Month Requirement Extension amendment.
2019 - Q2 | Pre-MN DIP | Insurance Requirements | Program: Solar*Rewards Community | 2019-05-23 | 6 of 67 | Providing insurance documentation is one of three requirements in order to become Mechanically Complete. Section 10 tariff has the insurance requirements in beginning on sheet 10-122. Xcel Energy requested that developers make sure to be fully aware of what insurance exclusions exist and provide this information quickly. Insurance review can take a while for review (a few weeks).
2019 - Q2 | Pre-MN DIP | Subscribers | Program: Solar*Rewards Community | 2019-05-23 | 6 of 67 | Xcel Energy requests that when a Garden Operator changes DC size to do so prior to the garden going into operation.
2019 - Q2 | Pre-MN DIP | In Service Date (ISD) | Engineering | 2019-05-23 | 6-7 of 67 | Discussion/reminders regarding In Service Dates (ISDs).
2019 - Q2 | Pre-MN DIP | Ordinances | Engineering | 2019-05-23 | 7 of 67 | There are a lot of cities and townships that may or may not be friendly for community solar gardens. Xcel Energy does not work specifically with these groups. What Xcel Energy is now seeing is that some of these ordinances are requesting them to build in a certain way – some of these Xcel Energy cannot build to. For example, one township has an ordinance for one pole on private property – this is not necessarily easy to accomplish. Xcel Energy may find a solution to a given situation, but they could also be issues with the county permitting in a right away area.
2019 - Q2 | Pre-MN DIP | Restudies | Engineering | 2019-05-23 | 7 of 67 | There are many restudies occurring this year. These can and will halt work in design. Designers will not work on projects in limbo as projects are being restudied in the queue. These projects will also not receive an ISD or their previously projected ISD may now be invalid.
2019 - Q2 | Pre-MN DIP | Telemetry | Engineering | 2019-05-23 | 7 of 67 | Xcel Energy noted a change in telemetry cabinets based on their “single meter solution.”. Many projects will not have a telemetry cabinet but instead will have now have a 4G meter. This is a great thing as it lowers costs, removes wiring, etc. If developers are going to go to a 4G solution, Xcel Energy requested that developers please return the modem and firewall back to Xcel Energy. There is still a 20-week turnaround for meters—these timeframes will be updated as we monitor this solution change.
2019 - Q2 | Pre-MN DIP | Site Access | Engineering | 2019-05-23 | 7 of 67 | Developers were asked to make sure the fences and gates are clearly labeled with the garden name and other identifying information. If developers have a garden next to another one please make sure to talk to the other developer – Xcel Energy designers cannot discuss other projects without permission.
2019 - Q2 | Pre-MN DIP | Planned Outages | Regulatory | 2019-05-23 | 7-9 of 67 | Discussion regarding planned outages. Additionally, the Company noted that when developers call into the control center and ask why a garden is off line, please know: (1)what garden it is (account number, garden name), (2) where it is (address), and (3) what substation it is on. In addition, if there is weather going through the area –developers should not be calling the control center. Reporting an outage should go to the outage center not the control center; Xcel Energy can send people from those calls numbers. Xcel Energy had one developer call 17 times in one hour to our control center – this is not acceptable. For planned outages, we will call the 24-hour number required for Primary Application Manager – this field is editable on the Garden Operator portal. Xcel Energy updates the control center weekly with new numbers.
2019 - Q2 | Pre-MN DIP | Commercial Operations Requirements | Engineering | 2019-05-23 | 8 of 67 | Xcel Energy reviewed at this workgroup session the Requirements of Commercial Operations to further establish what is needed to achieve permission to operate.
2019 - Q2 | Pre-MN DIP | Spring Construction | Engineering | 2019-05-23 | 8 of 67 | MN DOT has road use restrictions at this time. These start from February to May in some cases. When frost starts coming out of the ground is when these restrictions begin. This would require truck to move equipment in the fall/winter to avoid this impact when Mechanical Completion dates occur during this time.
2019 - Q2 | Pre-MN DIP | Open Phase Testing | Engineering | 2019-05-23 | 8 of 67 | We have conducted open-phase testing on all legacy systems. Three projects still have not passed after five tests each. Two have been disconnected and one is working on other issues at the site. As soon as these sites have updated equipment and passed the open-phase test Xcel Energy will re-energize. Xcel Energy recommended developers discuss failures with their teams to avoid similar failures in the future. Billing for projects with more than one test will occur in the next few weeks.This testing is based on IEEE and is used in any three-phrase project (not just community solar gardens).
2019 - Q2 | Pre-MN DIP | Study Processes and Deadlines | Engineering | 2019-05-23 | 9-10 of 67 | Discussion regarding studies, accuracy of studies, delays and timing. Xcel Energy’s goal has always been and continues to be accuracy in our studies. Xcel Energy has noted that as project queues increase they are seeing that someone early or in the middle of the queue drop out. In the meantime, several studies behind have been studied in the queue.
2019 - Q2 | Pre-MN DIP | Minnesota Distributed Energy Resources Interconnection Process (MN DIP) | Regulatory | 2019-05-23 | 10 of 67 | The vision of MN DIP is to create one interconnection process for all MN programs in accordance to the new interconnection process in Minnesota. Xcel Energy reviewed the new process and next steps in preparation for June 17, 2019. They also provided dates for the webinar showing the system changes (see Document A).
2019 - Q1 | Pre-MN DIP | Dashboard | Program: Solar*Rewards Community | 2019-02-14 | 4 of 40 | The Company provided an update regarding the status (as of February 2019) of the Solar*Rewards Community program.
2019 - Q1 | Pre-MN DIP | Single Meter | Program: Solar*Rewards Community | 2019-02-14 | 4-5 of 40 | At the end of December, Xcel Energy’s Single Meter Amendment was approved for use in the S*RC program (December 20, 2018). The amendment allows developers to utilize one meter rather than two (billing and production) as defined by tariff. This is available to all projects in the interconnection process. If developers want to take advantage of the Amendment, please submit an updated single line diagram and amendment to SRCMN@xcelenergy.com and upload onto SalesForce. If developers have a project that is coming near some deadlines for construction, Xcel Energy needs enough time to review the request. Specifically, Xcel Energy will review the feasibility of the change and ensure that the timeframe can be accommodated. The program team will follow-up requesting metering tech sheets, approvals and next steps.
2019 - Q1 | Pre-MN DIP | Webpage Update | Program: Solar*Rewards Community | 2019-02-14 | 5 of 40 | Xcel Energy has updated the Developer Resource page. The link on Document A will direct developers to the new page. The page is set up in accordion style and defined by each of the eight steps towards commercial operation. All forms and details developers need for the program will be available by step on the website.
2019 - Q1 | Pre-MN DIP | Deposit Refunds | Program: Solar*Rewards Community | 2019-02-14 | 5 of 40 | Discssion regarding deposit refunds. For funds that are held with Xcel Energy (or escrow), refunds begins once a project is active, cancelledor withdrawn. Xcel Energy will initiate it through a formal request for refund to the developer. The refund process is within 30-calendar days once all information is received. If Xcel Energy does not receive notice from the developer the process stops until we hear back. They will reach out again, but the information is needed to continue, however, the 30-calendar day does not start is essentially stalled.
2019 - Q1 | Pre-MN DIP | In Service Date (ISD) | Engineering | 2019-02-14 | 6 of 40 | Discussion/reminders regarding In Service Dates (ISDs). Discssion included the differences between ISDs and Mechanical Completion, the importance of date management and establishing an ISD early. Additionally, the Company noted that we do need to have all details completed 8 weeks prior to completion for establishing the ISD.
2019 - Q1 | Pre-MN DIP | Drivable Surfaces | Engineering | 2019-02-14 | 6 of 40 | A drivable surface is whatever the county requires for a 9-10 ton truck or, from Xcel Energy’s perspective, a turnaround space the ability for a 9-10 ton truck. Xcel Energydoes not think it is necessary to give more direction on this – it would require more civil engineering on the developers side. Requirements of a drivable surface: must have for PTO and make sure it is there before it freezes. Xcel Energy goes onsite for various reasons – meter validations, developer request, etc., we should be calling in advance. The roads must be plowed in the winter when requested.
2019 - Q1 | Pre-MN DIP | Inclement Weather | Engineering | 2019-02-14 | 7 of 40 | Minnesota has a lot of inclement weather. Xcel Energy usually cancels witness testing and energization if we know ahead of time. Sometimes these cancellations occur in the morning. If developers are scheduled for a testing or energization, Xcel Energy will try to get them back in within two weeks. Acceptance testing –within two weeks. Acceptance would move to ISD, ISD would move out. Those that have missed an ISD, Xcel Energy is making these projects a priority, because they were already scheduled. Xcel Energy has had to cancel and then cancel again because they are prioritizing projects around weather. Developers outlets in the panels need to be in working order – panels need to be cleared off.
2019 - Q1 | Pre-MN DIP | Early Build | Engineering | 2019-02-14 | 7 of 40 | Build early do not wait until 4th quarter if you do not have to. There is no waitlist planned in 2019. Xcel Energy noted in October 2018 the 10-day business day requirement for all program requirements to be completed – including every document. This provides developers the availability to lock in energization to 8 weeks from a developers ISD. Xcel Energy saw a significant change due to this adjustment. Only one project did not meet their energization dates whereas last year at this time almost all of them had missed these dates.Xcel Energy anticipates that people will be locked into these dates based on these program changes. They saw a real positive momentum towards completion at the end of 2018.
2019 - Q1 | Pre-MN DIP | Open Phase Testing | Engineering | 2019-02-14 | 8-9 of 40 | Discussion regarding the Open-Phase Legacy Testing. Some projects have gone through four tests without passing. Xcel Energy will be sending letters to notify developers of final test. Failure types include cease energization in 2 seconds, cease energization in less than 2 hours, preparation, high voltage, other (random things that do not fall under IEEE like blown fuses). High Voltage (sustained high voltage in the open phase itself) is one of the minimal concerns as we get into this testing. Xcel Energy did not see as many as they thought.
2019 - Q1 | Pre-MN DIP | Power Factor | Engineering | 2019-02-14 | 9 of 40 | Initial power factor takes into consideration safety, reliability, quality for all those on the feeder. Some of the popular feeders we are pushing 10 projects, the initial project on the feeder is going to look very different when we analyze the project than what it may look like in the future. As Xcel Energy identifies these changes, they will reach out to the impacted sites and a power factor amendment so that operators can step up or down depending on the new needs of the system. In summary, as more systems are added we will be going back to existing systems to make amendments as needed for shifts over the feeder line. The length of the queue at a particular feeder plays a significant part on whether this change will occur for a particular project.
2019 - Q1 | Pre-MN DIP | Studies, Interconnection Agreements and Timelines | Engineering | 2019-02-14 | 9-10 of 40 | Xcel Energy has missed several deadlines over the last few months due to issues with their current vendor. They initially had several vendors in 2016 working on studies. Overtime, this was reduced due to quality concerns. In 2018, they issued an RFP to meet current and future MN DIP needs. As they began the RFP process, they identified additional concerns. Xcel Energy has chosen new vendors but they are going through the security process.
2019 - Q1 | Pre-MN DIP | Developer Annual Reports | Regulatory | 2019-02-14 | 10 of 40 | Xcel Energy has not been overly concerned about timelines to-date. Developers have a year after the first year of production. However, now getting to point where we have several Annual Reports due; therefore, Xcel Energy has decided to begin a March 31 deadline for these reports. For CSG projects finished in 2017, 2018 is the first full year of production; a developer’s first annual report is due March 31st of 2019. There are a lot of CSGs that fall into this bucket. Developers will receive notice in next 2 weeks if Xcel Energy has not received an annual report. If they do not receive a report, Garden Operators will receive 30 day notice of breach followed by 30 day disconnect. Please send reports to SRCMN@xcelenergy.com.
2019 - Q1 | Pre-MN DIP | Minnesota Distributed Energy Resources Interconnection Process (MN DIP) | Regulatory | 2019-02-14 | 10-11 of 40 | The Interconnection Process is changing. The cutoff date for new/old process is June 17, 2019; however, projects have to August 16, 2019 to have application be deemed complete if that application was submitted prior to June 17. The Company filed our tariffs to match CSG to MN DIP and have one process for all interconnections. The tariff language was provided to Developers back in September/October to parties and to the Commission in December. Right now, there is an open comment period due on Feb. 22 (next Friday). Hearings are to be determined, but will precede the MN DIP change in June. Once we are closer to implementing MN DIP we will have further discussions in this workgroup. The SalesForce portal will look different as will future applications. Note that nothing will be retroactive and will depend upon project application submittal.